## Pages 15-19
Gippsland Water Locality Water Source and Water treatment process
Locality | Estimated Population Serviced1 | Source water | Raw Water Storage | Water Treatment Plant | Treatment process | [9 empty] | Sludge Thickening Dewatering | Added Substances
[5 empty] | Coagulation & Flocculation | Clarification |  | Filtration |  | Disinfection |  |  |  | Other
[6 empty] | Sedimentation / Clarification | Dissolved Air Flotation | Granular Media Filter | Membrane | Chlorine Gas | Chloramination | Sodium Hypochlorite | Calcium Hypochlorite | Activated Carbon (PAC/GAC)4 |  | Lime / Soda Ash | Alum Based Coagulants | Iron Based Coagulants | Potassium Permanganate | Polymers | Sodium Fluoride/ Hydrofluorosilicic Acid
Maffra | 5530 | Macalister River | N/A | Maffra | X | X |  | X |  | X |  | Stratford & Boisdale |  | X |  | Soda Ash | Alum / |  |  | LT22 | Hydrofluorosilicic acid5
Stratford | 2260 | [15 empty] | PACl-23*
Boisdale | 80 | [15 empty] | (High Turbidity)
Briagolong | 790 | Bore (Freestone Creek Aquifer) | N/A | Briagolong | X |  |  | X |  |  |  | X |  |  |  | Soda Ash |  | Polymerised Ferric Sulphate |  | 1115 & 1160
Morwell | 16620 | Tyers River | Moondarra | Morwell | X | X |  | X |  | X |  | Morwell, Churchill, Jumbuk, Hazelwood Nth, Boolarra | Traralgon Sth |  |  | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Boolarra | 650
Churchill | 5630
Yinnar | 1200
Jumbuk | 360
Traralgon South/Hazelwood North | 2010
Tyers/Glengarry | 2280 | Tyers River | Moondarra | Tyers | X |  |  | X |  |  |  | Tyers, Rosedale & Toongabbie |  |  | X | Soda Ash | Alum |  |  | 1115 & 1160
Rosedale | 1810 |  |  | (Plant 1)
Toongabbie | 1020 |  |  | Tyers | X |  | X | X | X
Cowwarr | 270 |  |  | (Plant 2)
Traralgon | 30950 | Tyers River | Moondarra | Traralgon | X |  | X | X |  | X | [5 empty] | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Warragul3 | 18390 | Pederson Weir (Tarago River) | Tarago Reservoir (supplementary supply) | Warragul | X |  | X | X |  | X |  | Warragul South & Drouin |  | X1 | X | Lime | Alum |  |  | LT20 | Sodium Fluoride
(including Nilma, |  | Tarago Reservoir - (supplementary supply)
Drouin East)
Warragul South | 160
Drouin | 13140
Rokeby/Buln Buln | 470
Coongulla/ | 260 | Macalister River | Lake Glenmaggie | Coongulla | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1160, 1115
Glenmaggie
Rawson | 330 | Trigger Creek | Amours Basins | Rawson | X |  | X | X |  |  |  | Rawson WTP, Parkers Corner |  |  | X | Soda Ash |  | PFS |  | 1160
Erica | 340 | [16 empty] | (Polymerised Ferric Sulphate)
Heyfield | 2060 | Thomson River | Heyfield Raw water storage | Heyfield | X |  |  | X |  | X |  |  |  | X | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160
Mirboo North | 1970 | Little Morwell River | N/A | Mirboo North | X | X | X | X |  |  |  | X |  |  | X | Soda Ash | PASS |  |  | LT20
Moe | 11660 | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride | X
Newborough | 7400
Yallourn North | 1620
Trafalgar | 3770
Yarragon | 1640
Darnum3 | 470
Neerim South | 1340 | Tarago River | Tarago Reservoir | Neerim South | X |  | X | X |  |  | X (Noojee System) | X (Neerim South) |  |  | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160 |  | X
Noojee | 330
Sale/Wurruk | 17880 | Bore (Boisdale Aquifer) | N/A | Sale |  |  |  | X |  | X | [5 empty] | Lime |  |  | X |  | Sodium Fluoride
Seaspray | 230 | Merrimans Creek | Seaspray Raw Water Storage | Seaspray | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1115, 1160
Thorpdale | 210 | Easterbrook Creek | Thorpdale raw water storage | Thorpdale | X | X |  | X |  |  |  | X |  |  | X | Soda Ash | Alum |  | X (Tepmorary)
(July 2015 – September 2015)
|  | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 |  | X
(September 2015 - ongoing)
Willow Grove | 350 | Tanjil River | Blue Rock Lake | Willow Grove | X |  |  | X |  |  | X |  |  |  | X | Soda Ash | Alum |  |  | 1115, 1160

## Page 27
Summary of changes to the Safe Drinking Water Regulations (Schedule 2)
Parameter | SDWR (2005) | SDWR (2015)
| Water Quality Standard | Water Quality Standard
Escherichia coli | At least 98% of all samples collected in any 12 month period contain no E.coli per 100mL. | All samples of drinking water collected are found to contain no Escherichia coli per 100 millilitres, with the exception of any false positive sample.
Chloroacetic acid | 0.15 mg/L | Removed from Regulation (Schedule 2)
Dichloroacetic acid | 0.1 mg/L | Removed from Regulation (Schedule 2)
Trichloroacetic acid | 0.1 mg/L | Removed from Regulation (Schedule 2)
Trihalomethanes | 0.25 mg/L | 0.25 mg/L
Bromate | 0.02 mg/L* | Removed from Regulation (Schedule 2)
Formaldehyde | 0.5 mg/L* | Removed from Regulation (Schedule 2)
Aluminium (Acid Soluble) | 0.2 mg/L | Removed from Regulation (Schedule 2)
Turbidity | 95% upper confidence limit of the mean of samples of drinking water collected in any 12 month period must be less than or equal to 5.0 NTU. | The 95th percentile of results for samples in any 12 month period must be less than or equal to 5×0 Nephelometric Turbidity Units.

## Page 31
Water quality complaints per 100 customers supplied
Type of Complaint | 2015-16 |  | 2014-15 | 2013-14 | 2012-13 | 2011-12
| No. of Complaints | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers
Discoloured water | 126 | 0.185 | 0.239 | 0.215 | 0.224 | 0.328
Taste / odour | 76 | 0.112 | 0.115 | 0.106 | 0.104 | 0.294
Blue water | 2 | 0.003 | 0.006 | 0 | 0.005 | 0.002
Air in water | 18 | 0.026 | 0.064 | 0.058 | 0.058 | 0.075
Alleged illness | 8 | 0.012 | 0.014 | 0.021 | 0.005 | 0.015
Total | 230 | 0.339 | 0.439 | 0.4 | 0.396 | 0.715

## Page 37
E. coli results for localities 2015-16 (1st July 2015 to 17th July 2015)
Locality | Frequency of sampling | No. of samples* | No. of Non complying results | Max result | % with no | Complying
|  |  |  | (organisms/ | E. coli | (Yes/No)
100mL)
Boisdale | Weekly | 2 | 0 | 0 | 100% | Yes
Boolarra | Weekly | 3 | 0 | 0 | 100% | Yes
Briagolong | Weekly | 2 | 0 | 0 | 100% | Yes
Churchill | Weekly | 3 | 0 | 0 | 100% | Yes
Coongulla-Glenmaggie | Weekly | 3 | 0 | 0 | 100% | Yes
Cowwarr | Weekly | 2 | 0 | 0 | 100% | Yes
Drouin | Weekly | 4* | 0 | 0 | 100% | Yes
Erica | Weekly | 2 | 0 | 0 | 100% | Yes
Heyfield | Weekly | 3 | 0 | 0 | 100% | Yes
Jumbuk | Weekly | 2 | 0 | 0 | 100% | Yes
Maffra | Weekly | 3 | 0 | 0 | 100% | Yes
Mirboo North | Weekly | 3 | 0 | 0 | 100% | Yes
Moe | Weekly | 4* | 0 | 0 | 100% | Yes
Morwell | Weekly | 4* | 0 | 0 | 100% | Yes
Neerim South | Weekly | 2 | 0 | 0 | 100% | Yes
Newborough | Weekly | 2 | 0 | 0 | 100% | Yes
Noojee | Weekly | 2 | 0 | 0 | 100% | Yes
Rawson | Weekly | 2 | 0 | 0 | 100% | Yes
Rokeby-Buln Buln | Weekly | 2 | 0 | 0 | 100% | Yes
Rosedale | Weekly | 2 | 0 | 0 | 100% | Yes
Sale-Wurru | Weekly | 4* | 0 | 0 | 100% | Yes
Seaspray | Weekly | 2 | 0 | 0 | 100% | Yes
Stratford | Weekly | 2 | 0 | 0 | 100% | Yes
Thorpdale | Weekly | 3 | 0 | 0 | 100% | Yes
Toongabbie | Weekly | 2 | 0 | 0 | 100% | Yes
Trafalgar | Weekly | 2 | 0 | 0 | 100% | Yes
Traralgon | Weekly | 7* | 0 | 0 | 100% | Yes
Traralgon South-Hazelwood North | Weekly | 2 | 0 | 0 | 100% | Yes
Tyers-Glengarry | Weekly | 3 | 0 | 0 | 100% | Yes
Warragul | Weekly | 3* | 0 | 0 | 100% | Yes
Warragul South | Weekly | 2 | 0 | 0 | 100% | Yes
Willow Grove | Weekly | 2 | 0 | 0 | 100% | Yes
Yallourn North | Weekly | 3 | 0 | 0 | 100% | Yes
Yarragon | Weekly | 2 | 0 | 0 | 100% | Yes
Yinnar | Weekly | 2 | 0 | 0 | 100% | Yes

## Page 38
E. coli detections for localities 2015-16 (18th July 2015 to 30th June 2016)
Locality | No. of investigations conducted (s. 22) | No. of confirmed false positives | No. of investigations where standard not met (s. 18)
Morwell | 1 | 1 | 0
Sale | 1 | 0 | 1

## Page 39
Chloroacetic acid results for all localities 2015-16
Locality | Frequency of sampling | No. of samples | No. of non complying samples | Max | Min | Complying
|  |  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Boolarra | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Briagolong | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Churchill | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Coongulla-Glenmaggie | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Cowwarr | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Drouin | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Erica | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Heyfield | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Jumbuk | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Maffra | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Mirboo North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Moe | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Morwell | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Neerim South | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Newborough | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Noojee | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Rawson | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Rokeby-Buln Buln | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Rosedale | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Sale-Wurruk | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Seaspray | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Stratford | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Thorpdale | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Toongabbie | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Trafalgar | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Traralgon | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Traralgon South-Hazelwood North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Tyers-Glengarry | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Warragul | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Warragul South | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Willow Grove | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yallourn North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yarragon | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yinnar | Monthly | 1 | 0 | <0.005 | <0.005 | Yes

## Page 40
Dichloroacetic acid results for all localities 2015-16
Locality | Frequency of sampling | No. of samples | No. of non complying samples | Max | Min | Complying (Yes/No)
|  |  |  | (mg/L) | (mg/L)
Boisdale | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Boolarra | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Briagolong | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Churchill | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Coongulla-Glenmaggie | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Cowwarr | Monthly | 1 | 0 | 0.028 | 0.028 | Yes
Drouin | Monthly | 1 | 0 | 0.005 | 0.005 | Yes
Erica | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Heyfield | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Jumbuk | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Maffra | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Mirboo North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Moe | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Morwell | Monthly | 1 | 0 | 0.007 | 0.007 | Yes
Neerim South | Monthly | 1 | 0 | 0.009 | 0.009 | Yes
Newborough | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Noojee | Monthly | 1 | 0 | 0.009 | 0.009 | Yes
Rawson | Monthly | 1 | 0 | 0.007 | 0.007 | Yes
Rokeby-Buln Buln | Monthly | 1 | 0 | 0.007 | 0.007 | Yes
Rosedale | Monthly | 1 | 0 | 0.013 | 0.013 | Yes
Sale-Wurruk | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Seaspray | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Stratford | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Thorpdale | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Toongabbie | Monthly | 1 | 0 | 0.013 | 0.013 | Yes
Trafalgar | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Traralgon | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Traralgon South-Hazelwood North | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Tyers-Glengarry | Monthly | 1 | 0 | 0.012 | 0.012 | Yes
Warragul | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Warragul South | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Willow Grove | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yallourn North | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Yarragon | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yinnar | Monthly | 1 | 0 | <0.005 | <0.005 | Yes

## Page 41
Trichloroacetic acid for all localities 2015-16
Locality | Frequency of sampling | No. of samples | No. of non complying samples | Max | Min | Complying (Yes/No)
|  |  |  | (mg/L) | (mg/L)
Boisdale | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Boolarra | Monthly | 1 | 0 | 0.017 | 0.017 | Yes
Briagolong | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Churchill | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Coongulla-Glenmaggie | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Cowwarr | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Drouin | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Erica | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Heyfield | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Jumbuk | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Maffra | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Mirboo North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Moe | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Morwell | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Neerim South | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Newborough | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Noojee | Monthly | 1 | 0 | 0.007 | 0.007 | Yes
Rawson | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Rokeby-Buln Buln | Monthly | 1 | 0 | 0.007 | 0.007 | Yes
Rosedale | Monthly | 1 | 0 | 0.018 | 0.018 | Yes
Sale-Wurruk | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Seaspray | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Stratford | Monthly | 1 | 0 | 0.005 | 0.005 | Yes
Thorpdale | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Toongabbie | Monthly | 1 | 0 | 0.017 | 0.017 | Yes
Trafalgar | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Traralgon | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Traralgon South-Hazelwood North | Monthly | 1 | 0 | 0.008 | 0.008 | Yes
Tyers-Glengarry | Monthly | 1 | 0 | 0.014 | 0.014 | Yes
Warragul | Monthly | 1 | 0 | 0.006 | 0.006 | Yes
Warragul South | Monthly | 1 | 0 | 0.015 | 0.015 | Yes
Willow Grove | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yallourn North | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yarragon | Monthly | 1 | 0 | <0.005 | <0.005 | Yes
Yinnar | Monthly | 1 | 0 | 0.016 | 0.016 | Yes

## Page 42
Trihalomethanes results for all localities for 2015-16
Locality | Frequency of sampling | No. of samples | No. of non complying samples | Max | Min | Complying (Yes/No)
|  |  |  | (mg/L) | (mg/L)
Boisdale | Monthly | 12 | 0 | 0.049 | 0.035 | Yes
Boolarra | Monthly | 12 | 0 | 0.087 | 0.049 | Yes
Briagolong | Monthly | 12 | 0 | 0.01 | 0.004 | Yes
Churchill | Monthly | 12 | 0 | 0.067 | 0.022 | Yes
Coongulla-Glenmaggie | Monthly | 12 | 0 | 0.036 | <0.001 | Yes
Cowwarr | Monthly | 12 | 0 | 0.084 | 0.044 | Yes
Drouin | Monthly | 12 | 0 | 0.068 | 0.027 | Yes
Erica | Monthly | 12 | 0 | 0.05 | 0.019 | Yes
Heyfield | Monthly | 12 | 0 | 0.043 | 0.014 | Yes
Jumbuk | Monthly | 12 | 0 | 0.087 | 0.049 | Yes
Maffra | Monthly | 12 | 0 | 0.059 | 0.014 | Yes
Mirboo North | Monthly | 12 | 0 | 0.035 | 0.016 | Yes
Moe | Monthly | 12 | 0 | 0.047 | 0.021 | Yes
Morwell | Monthly | 12 | 0 | 0.052 | 0.015 | Yes
Neerim South | Monthly | 12 | 0 | 0.048 | 0.03 | Yes
Newborough | Monthly | 12 | 0 | 0.051 | 0.027 | Yes
Noojee | Monthly | 12 | 0 | 0.036 | 0.02 | Yes
Rawson | Monthly | 12 | 0 | 0.045 | 0.015 | Yes
Rokeby-Buln Buln | Monthly | 12 | 0 | 0.058 | 0.03 | Yes
Rosedale | Monthly | 12 | 0 | 0.12 | 0.046 | Yes
Sale-Wurruk | Monthly | 12 | 0 | 0.038 | 0.02 | Yes
Seaspray | Monthly | 12 | 0 | 0.17 | 0.11 | Yes
Stratford | Monthly | 12 | 0 | 0.045 | 0.029 | Yes
Thorpdale | Monthly | 12 | 0 | 0.069 | 0.033 | Yes
Toongabbie | Monthly | 12 | 0 | 0.062 | 0.042 | Yes
Trafalgar | Monthly | 12 | 0 | 0.041 | 0.022 | Yes
Traralgon | Monthly | 12 | 0 | 0.033 | 0.011 | Yes
Traralgon South-Hazelwood North | Monthly | 12 | 0 | 0.057 | 0.022 | Yes
Tyers-Glengarry | Monthly | 12 | 0 | 0.054 | 0.038 | Yes
Warragul | Monthly | 12 | 0 | 0.077 | 0.021 | Yes
Warragul South | Monthly | 12 | 0 | 0.084 | 0.039 | Yes
Willow Grove | Monthly | 12 | 0 | 0.003 | <0.001 | Yes
Yallourn North | Monthly | 12 | 0 | 0.054 | 0.036 | Yes
Yarragon | Monthly | 12 | 0 | 0.052 | 0.03 | Yes
Yinnar | Monthly | 12 | 0 | 0.063 | 0.031 | Yes

## Page 43
Aluminium results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | No. of non complying samples | Max | Min | Complying
|  |  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Boolarra | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Briagolong | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Churchill | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Coongulla & Glenmaggie | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Cowwarr | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Drouin | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Erica | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Heyfield | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Jumbuk | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Maffra | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Mirboo North | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Moe | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Morwell | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Neerim South | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Newborough | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Noojee | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Rawson | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Rokeby & Buln Buln | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Rosedale | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Sale/Wurruk | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Seaspray | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Stratford | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Thorpdale | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Toongabbie | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Trafalgar | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Traralgon | Monthly | 1 | 0 | 0.04 | 0.04 | Yes
Traralgon South & | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Hazelwood North
Tyers & Glengarry | Monthly | 1 | 0 | <0.01 | <0.01 | Yes
Warragul | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Warragul South | Monthly | 1 | 0 | 0.03 | 0.03 | Yes
Willow Grove | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Yallourn North | Monthly | 1 | 0 | 0.02 | 0.02 | Yes
Yarragon | Monthly | 1 | 0 | 0.01 | 0.01 | Yes
Yinnar | Monthly | 1 | 0 | 0.01 | 0.01 | Yes

## Page 44
Turbidity results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | No. of non complying samples | Max | Min | 95% Percentile (Results in 12 month period)* | Complying (Yes/No)
|  |  |  | (NTU) | (NTU)
Boisdale | Weekly | 52 | 0 | 0.2 | <0.1 | 0.2 | Yes
Boolarra | Weekly | 53 | 0 | 0.5 | 0.2 | 0.4 | Yes
Briagolong | Weekly | 52 | 0 | 0.2 | <0.1 | 0.2 | Yes
Churchill | Weekly | 52 | 0 | 0.3 | <0.1 | 0.2 | Yes
Coongulla & Glenmaggie | Weekly | 53 | 0 | 1.7 | <0.1 | 0.4 | Yes
Cowwarr | Weekly | 52 | 0 | 1.1 | <0.1 | 0.3 | Yes
Drouin | Weekly | 52 | 0 | 0.2 | <0.1 | 0.2 | Yes
Erica | Weekly | 52 | 0 | 3.4 | <0.1 | 1.1 | Yes
Heyfield | Weekly | 53 | 0 | 6.5 | <0.1 | 0.4 | Yes
Jumbuk | Weekly | 52 | 0 | 0.3 | 0.1 | 0.2 | Yes
Maffra | Weekly | 52 | 0 | 1.9 | <0.1 | 0.1 | Yes
Mirboo North | Weekly | 53 | 0 | 0.3 | <0.1 | 0.2 | Yes
Moe | Weekly | 52 | 0 | 0.2 | <0.1 | 0.2 | Yes
Morwell | Weekly | 53 | 0 | 0.5 | <0.1 | 0.2 | Yes
Neerim South | Weekly | 52 | 0 | 1 | 0.1 | 0.4 | Yes
Newborough | Weekly | 52 | 0 | 0.2 | <0.1 | 0.1 | Yes
Noojee | Weekly | 52 | 0 | 1.1 | 0.2 | 0.4 | Yes
Rawson | Weekly | 52 | 0 | 1.6 | 0.1 | 0.4 | Yes
Rokeby & Buln Buln | Weekly | 52 | 0 | 0.2 | <0.1 | 0.2 | Yes
Rosedale | Weekly | 52 | 0 | 5.2 | <0.1 | 1.3 | Yes
Sale/Wurruk | Weekly | 52 | 0 | 0.6 | <0.1 | 0.2 | Yes
Seaspray | Weekly | 52 | 0 | 1.6 | 0.2 | 1 | Yes
Stratford | Weekly | 52 | 0 | 0.3 | <0.1 | 0.2 | Yes
Thorpdale | Weekly | 53 | 0 | 0.8 | 0.1 | 0.7 | Yes
Toongabbie | Weekly | 52 | 0 | 0.3 | <0.1 | 0.3 | Yes
Trafalgar | Weekly | 52 | 0 | 0.2 | <0.1 | 0.1 | Yes
Traralgon | Weekly | 53 | 0 | 1.2 | <0.1 | 0.5 | Yes
Traralgon South & | Weekly | 52 | 0 | 0.3 | <0.1 | 0.2 | Yes
Hazelwood North
Tyers & Glengarry | Weekly | 53 | 0 | 1 | <0.1 | 0.4 | Yes
Warragul | Weekly | 52 | 0 | 0.3 | <0.1 | 0.2 | Yes
Warragul South | Weekly | 52 | 0 | 0.2 | 0.1 | 0.2 | Yes
Willow Grove | Weekly | 52 | 0 | 0.3 | <0.1 | 0.2 | Yes
Yallourn North | Weekly | 52 | 0 | 1.4 | <0.1 | 0.2 | Yes
Yarragon | Weekly | 52 | 0 | 0.1 | <0.1 | 0.1 | Yes
Yinnar | Weekly | 52 | 0 | 0.4 | 0.1 | 0.4 | Yes

## Page 46
Fluoride results for all fluoridated localities in 2015-16
Treatment Plant | Locality | Frequency of Sampling | Actual No. of Samples | Operating Target | Max | Min | Overall Average1 | Operating Average2 | Comply3 | Meeting Obligations4
[5 empty] | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (Yes /No) | (Yes/No)
Maffra* | Boisdale | Weekly | 52 | 0.9 | <0.05 | <0.05 | <0.05 | N/A | Yes | No
| Maffra | Weekly | 52 | 0.9 | <0.05 | <0.05 | 0.05 | N/A | Yes | No
| Stratford | Weekly | 52 | 0.9 | <0.05 | <0.05 | <0.05 | N/A | Yes | No
Morwell | Churchill | Monthly | 52 | 0.9 | 0.97 | <0.05 | 0.68 | 0.85 | Yes | Yes
| Boolarra | Monthly | 53 | 0.9 | 0.94 | <0.05 | 0.64 | 0.84 | Yes | Yes
| Jumbuk | Monthly | 52 | 0.9 | 0.99 | <0.05 | 0.67 | 0.87 | Yes | Yes
| Morwell | Weekly | 53 | 0.9 | 0.96 | <0.05 | 0.72 | 0.9 | Yes | Yes
| Traralgon South/ | Monthly | 52 | 0.9 | 0.97 | <0.05 | 0.71 | 0.89 | Yes | Yes
Hazelwood North
| Yinnar | Monthly | 52 | 0.9 | 0.95 | <0.05 | 0.68 | 0.86 | Yes | Yes
Moe5 | Moe | Weekly | 52 | 0.9 | 0.89 | <0.05 | 0.6 | 0.67 | Yes | Yes
| Newborough | Monthly | 52 | 0.9 | 0.89 | <0.05 | 0.62 | 0.68 | Yes | Yes
| Trafalgar | Monthly | 52 | 0.9 | 0.9 | <0.05 | 0.6 | 0.67 | Yes | Yes
| Yallourn North | Monthly | 53 | 0.9 | 0.85 | <0.05 | 0.62 | 0.65 | Yes | Yes
| Thorpdale6 | Monthly | 13 | 0.9 | 0.87 | <0.05 | 0.75 | 0.76 | Yes | Yes
| Yarragon | Monthly | 52 | 0.9 | 0.89 | <0.05 | 0.6 | 0.66 | Yes | Yes
Sale | Sale/Wurruk | Weekly | 52 | 0.9 | 1.1 | <0.05 | 0.67 | 0.95 | Yes | Yes
Traralgon* | Traralgon | Weekly | 53 | 0.9 | <0.05 | <0.05 | <0.05 | N/A | Yes | No
Warragul | Drouin | Weekly | 52 | 0.9 | 0.92 | <0.05 | 0.51 | 0.68 | Yes | Yes
| Rokeby/Buln Buln | Weekly | 52 | 0.9 | 0.88 | <0.05 | 0.51 | 0.68 | Yes | Yes
| Warragul | Weekly | 52 | 0.9 | 0.89 | <0.05 | 0.5 | 0.67 | Yes | Yes
| Warragul South | Weekly | 52 | 0.9 | 0.76 | <0.05 | 0.46 | 0.63 | Yes | Yes

## Page 53
Other sampled parameter results for all localities in 2015-16
Parameter | Frequency of sampling | No. samples | Maximum Value Recorded for All Localities (mg/L) | Results According to ADWG guideline values
|  |  |  | Health Based Guideline value (mg/L) | Result | Locality
Nitrite | Weekly*/6 Monthly | 261 | 0.4 | < 3 | All results below ADWG health guideline values
Mercury | Quarterly | 140 | <0.0001 | < 0.001
Chromium | Quarterly | 140 | <0.001 | < 0.05
Cadmium | Quarterly | 140 | <0.0002 | < 0.002
Nitrate | Weekly*/Quarterly | 140 | 1.4 | < 50
Nickel | Annually | 35 | 0.004 | < 0.02
Arsenic | Annually/Quarterly | 35 | <0.001 | < 0.01
Cyanide | Annually | 35 | <0.005 | < 0.08
Selenium | Annually/Quarterly | 105 | <0.001 | < 0.01
Beryllium | Annually/6 Monthly | 66 | <0.01 | < 0.06
Chloryl Hydrate | Monthly | 420 | 0.02 | < 0.1
2, 4-Dichlorophenoxy acetic acid | Monthly | 420 | <0.01 | < 0.03
Nitrosodimethylamine | Monthly** | 24** | 8e-06 | < 0.0001
2,4,6-Trichlorophenol | Monthly*** | 416 | <0.001 | < 0.02
2,4-Dichlorophenol | Monthly*** | 416 | <0.001 | < 0.2
2- Chlorophenol | Monthly*** | 416 | <0.001 | < 0.3
Pentachlorophenol | Monthly | 420 | <0.001 | < 0.01
Parameter | Frequency of sampling | No. samples | Maximum Value Recorded for All Localities (mg/L) | Aesthetic Based Guideline value (mg/L)
Chloride | Annually/Quarterly | 105 | 140 | <250
Zinc | Annually | 35 | 0.025 | <3
Hardness (CaCO3) | Annually/Quarterly | 105 | 130 | <200
Total Dissolved Solids | Annually/Quarterly | 105 | 360 | <600
Silica | Annually/Quarterly | 105 | 15 | <80
Sulphate | Annually/Quarterly | 105 | 45 | <250

## Page 54
Routine BGA monitoring for raw water supplies in 2015-16
Location | Jul | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
| ‘15 | ‘15 | ‘15 | ‘15 | ‘15 | ‘15 | ‘16 | ‘16 | ‘16 | ‘16 | ‘16 | ‘16
Maffra Weir | bar: Jan to Jun
Heyfield Raw Water Storage | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2
Thorpdale Raw Water Storage | bar: Jan to Jun
Neerim South Tarago Reservoir | bar: Jan to Jun
Rawson Amours Basin | bar: Jan to Jun
Seaspray Raw Water Storage | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2
Blue Rock Lake | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Lake Glenmaggie | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Tarago Reservoir | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 1
(Melbourne Water BGA Program)
Moondarra Surface | bar: Jul to Jun
Moondarra Pipe line | bar: Jul; Jan to Jun
Moondarra Upper reaches | Jul: As required

## Page 55
Manganese results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | Max | Min | ADWG Guideline Value
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 12 | 0.001 | <0.001 | Yes
Boolarra | Monthly | 12 | <0.001 | <0.001 | Yes
Briagolong | Monthly | 12 | 0.005 | <0.001 | Yes
Churchill | Monthly | 12 | <0.001 | <0.001 | Yes
Coongulla & Glenmaggie | Monthly | 12 | 0.001 | <0.001 | Yes
Cowwarr | Monthly | 12 | 0.002 | <0.001 | Yes
Drouin | Monthly | 12 | 0.002 | <0.001 | Yes
Erica | Monthly | 12 | 0.011 | 0.004 | Yes
Heyfield | Monthly | 12 | 0.009 | 0.002 | Yes
Jumbuk | Monthly | 12 | <0.001 | <0.001 | Yes
Maffra | Monthly | 12 | 0.003 | <0.001 | Yes
Mirboo North | Monthly | 12 | 0.003 | <0.001 | Yes
Moe | Monthly | 12 | 0.005 | <0.001 | Yes
Morwell | Monthly | 12 | 0.003 | <0.001 | Yes
Neerim South | Monthly | 12 | 0.016 | 0.007 | Yes
Newborough | Monthly | 12 | 0.001 | <0.001 | Yes
Noojee | Monthly | 12 | 0.025 | 0.006 | Yes
Rawson | Monthly | 12 | 0.019 | 0.004 | Yes
Rokeby & Buln Buln | Monthly | 12 | 0.009 | <0.001 | Yes
Rosedale | Monthly | 12 | 0.002 | <0.001 | Yes
Sale/Wurruk | Monthly | 12 | 0.002 | 0.001 | Yes
Seaspray | Monthly | 12 | 0.019 | 0.008 | Yes
Stratford | Monthly | 12 | 0.003 | <0.001 | Yes
Thorpdale | Monthly | 12 | 0.038 | <0.001 | Yes
Toongabbie | Monthly | 12 | 0.001 | <0.001 | Yes
Trafalgar | Monthly | 12 | 0.002 | <0.001 | Yes
Traralgon | Monthly | 12 | 0.001 | <0.001 | Yes
Traralgon South & Hazelwood North | Monthly | 12 | 0.002 | <0.001 | Yes
Tyers & Glengarry | Monthly | 12 | 0.004 | <0.001 | Yes
Warragul | Monthly | 12 | 0.003 | <0.001 | Yes
Warragul South | Monthly | 12 | 0.001 | <0.001 | Yes
Willow Grove | Monthly | 12 | 0.01 | 0.001 | Yes
Yallourn North | Monthly | 12 | <0.001 | <0.001 | Yes
Yarragon | Monthly | 12 | <0.001 | <0.001 | Yes
Yinnar | Monthly | 12 | <0.001 | <0.001 | Yes

## Page 56
Lead results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | Max | Min | ADWG Guideline Value
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Boolarra | Quarterly | 4 | <0.001 | <0.001 | Yes
Briagolong | Quarterly | 4 | 0.002 | <0.001 | Yes
Churchill | Quarterly | 4 | <0.001 | <0.001 | Yes
Coongulla & Glenmaggie | Quarterly | 4 | <0.001 | <0.001 | Yes
Cowwarr | Quarterly | 4 | <0.001 | <0.001 | Yes
Drouin | Quarterly | 4 | <0.001 | <0.001 | Yes
Erica | Quarterly | 4 | 0.003 | <0.001 | Yes
Heyfield | Quarterly | 4 | <0.001 | <0.001 | Yes
Jumbuk | Quarterly | 4 | <0.001 | <0.001 | Yes
Maffra | Quarterly | 4 | 0.001 | <0.001 | Yes
Mirboo North | Quarterly | 4 | <0.001 | <0.001 | Yes
Moe | Quarterly | 4 | <0.001 | <0.001 | Yes
Morwell | Quarterly | 4 | 0.002 | <0.001 | Yes
Neerim South | Quarterly | 4 | <0.001 | <0.001 | Yes
Newborough | Quarterly | 4 | <0.001 | <0.001 | Yes
Noojee | Quarterly | 4 | <0.001 | <0.001 | Yes
Rawson | Quarterly | 4 | <0.001 | <0.001 | Yes
Rokeby & Buln Buln | Quarterly | 4 | <0.001 | <0.001 | Yes
Rosedale | Quarterly | 4 | <0.001 | <0.001 | Yes
Sale/Wurruk | Quarterly | 4 | <0.001 | <0.001 | Yes
Seaspray | Quarterly | 4 | <0.001 | <0.001 | Yes
Stratford | Quarterly | 4 | <0.001 | <0.001 | Yes
Thorpdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Toongabbie | Quarterly | 4 | <0.001 | <0.001 | Yes
Trafalgar | Quarterly | 4 | <0.001 | <0.001 | Yes
Traralgon | Quarterly | 4 | <0.001 | <0.001 | Yes
Traralgon South & Hazelwood North | Quarterly | 4 | <0.001 | <0.001 | Yes
Tyers & Glengarry | Quarterly | 4 | <0.001 | <0.001 | Yes
Warragul | Quarterly | 4 | <0.001 | <0.001 | Yes
Warragul South | Quarterly | 4 | <0.001 | <0.001 | Yes
Willow Grove | Quarterly | 4 | <0.001 | <0.001 | Yes
Yallourn North | Quarterly | 4 | <0.001 | <0.001 | Yes
Yarragon | Quarterly | 4 | <0.001 | <0.001 | Yes
Yinnar | Quarterly | 4 | <0.001 | <0.001 | Yes

## Page 57
Copper results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | Max | Min | ADWG Guideline Value
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | 0.009 | 0.004 | Yes
Boolarra | Quarterly | 4 | 0.004 | <0.001 | Yes
Briagolong | Quarterly | 4 | 0.01 | 0.003 | Yes
Churchill | Quarterly | 4 | 0.007 | 0.004 | Yes
Coongulla & Glenmaggie | Quarterly | 4 | 0.003 | <0.001 | Yes
Cowwarr | Quarterly | 4 | 0.04 | <0.001 | Yes
Drouin | Quarterly | 4 | 0.014 | 0.003 | Yes
Erica | Quarterly | 4 | 0.14 | 0.005 | Yes
Heyfield | Quarterly | 4 | 0.059 | 0.011 | Yes
Jumbuk | Quarterly | 4 | 0.011 | 0.004 | Yes
Maffra | Quarterly | 4 | 0.1 | 0.005 | Yes
Mirboo North | Quarterly | 4 | 0.022 | 0.008 | Yes
Moe | Quarterly | 4 | 0.014 | 0.004 | Yes
Morwell | Quarterly | 4 | 0.03 | 0.003 | Yes
Neerim South | Quarterly | 4 | 0.043 | 0.013 | Yes
Newborough | Quarterly | 4 | 0.011 | 0.003 | Yes
Noojee | Quarterly | 4 | 0.019 | 0.013 | Yes
Rawson | Quarterly | 4 | 0.038 | <0.001 | Yes
Rokeby & Buln Buln | Quarterly | 4 | 0.007 | 0.002 | Yes
Rosedale | Quarterly | 4 | 0.054 | 0.001 | Yes
Sale-Wurruk | Quarterly | 4 | 0.003 | <0.001 | Yes
Seaspray | Quarterly | 4 | 0.029 | 0.011 | Yes
Stratford | Quarterly | 4 | 0.023 | <0.001 | Yes
Thorpdale | Quarterly | 4 | 0.008 | <0.001 | Yes
Toongabbie | Quarterly | 4 | 0.025 | 0.011 | Yes
Trafalgar | Quarterly | 4 | 0.004 | <0.001 | Yes
Traralgon | Quarterly | 4 | 0.004 | 0.001 | Yes
Traralgon South & Hazelwood North | Quarterly | 4 | 0.004 | <0.001 | Yes
Tyers & Glengarry | Quarterly | 4 | 0.026 | 0.005 | Yes
Warragul | Quarterly | 4 | 0.007 | <0.001 | Yes
Warragul South | Quarterly | 4 | 0.009 | 0.001 | Yes
Willow Grove | Quarterly | 4 | 0.057 | 0.019 | Yes
Yallourn North | Quarterly | 4 | 0.005 | 0.002 | Yes
Yarragon | Quarterly | 4 | 0.001 | <0.001 | Yes
Yinnar | Quarterly | 4 | 0.019 | <0.001 | Yes

## Page 58
pH results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | Max | Min | Average
|  |  | (units) | (units) | (units)
Boisdale | Weekly | 52 | 7.9 | 7.5 | 7.7
Boolarra | Weekly | 53 | 8.2 | 7.2 | 7.6
Briagolong | Weekly | 52 | 7.3 | 6.8 | 7.1
Churchill | Weekly | 52 | 8.1 | 7 | 7.4
Coongulla & Glenmaggie | Weekly | 53 | 9 | 7.5 | 8.2
Cowwarr | Weekly | 52 | 8.5 | 6.9 | 7.6
Drouin | Weekly | 52 | 8.2 | 6.8 | 7.3
Erica | Weekly | 52 | 8.2 | 6.6 | 7.4
Heyfield | Weekly | 53 | 7.6 | 6.8 | 7.2
Jumbuk | Weekly | 52 | 7.7 | 7.2 | 7.4
Maffra | Weekly | 52 | 7.6 | 6.9 | 7.2
Mirboo North | Weekly | 53 | 7.6 | 7.1 | 7.3
Moe | Weekly | 52 | 7.9 | 6.8 | 7.2
Morwell | Weekly | 53 | 7.6 | 6.9 | 7.2
Neerim South | Weekly | 52 | 7.4 | 6.9 | 7.1
Newborough | Weekly | 52 | 7.8 | 7 | 7.3
Noojee | Weekly | 52 | 9.2 | 7.2 | 7.7
Rawson | Weekly | 52 | 7.7 | 7 | 7.2
Rokeby & Buln Buln | Weekly | 52 | 8.3 | 6.8 | 7.3
Rosedale | Weekly | 53 | 8.9 | 6.6 | 7.9
Sale/Wurruk | Weekly | 52 | 8.9 | 7.7 | 8
Seaspray | Weekly | 52 | 7.6 | 6.8 | 7.2
Stratford | Weekly | 52 | 7.7 | 7.2 | 7.4
Thorpdale | Weekly | 53 | 9 | 6.8 | 7.9
Toongabbie | Weekly | 52 | 7.5 | 7.1 | 7.3
Trafalgar | Weekly | 52 | 7.5 | 7.1 | 7.3
Traralgon | Weekly | 53 | 7.4 | 6.9 | 7.1
Traralgon South & Hazelwood North | Weekly | 52 | 9.2 | 7.1 | 7.4
Tyers & Glengarry | Weekly | 53 | 7.5 | 7 | 7.2
Warragul | Weekly | 53 | 8.5 | 6.7 | 7.3
Warragul South | Weekly | 52 | 8.5 | 7 | 7.6
Willow Grove | Weekly | 52 | 7.4 | 7.1 | 7.3
Yallourn North | Weekly | 53 | 7.8 | 7.1 | 7.3
Yarragon | Weekly | 52 | 9.1 | 7.6 | 8.3
Yinnar | Weekly | 52 | 8.4 | 7.1 | 7.5

## Page 59
Iron results for all localities in 2015-16
Locality | Frequency of Sampling | No. of Samples | Max | Min | Complying
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 12 | 0.01 | <0.01 | Yes
Boolarra | Monthly | 12 | 0.08 | 0.03 | Yes
Briagolong | Monthly | 12 | 0.01 | <0.01 | Yes
Churchill | Monthly | 12 | 0.02 | <0.01 | Yes
Coongulla & Glenmaggie | Monthly | 12 | 0.04 | <0.01 | Yes
Cowwarr | Monthly | 12 | <0.01 | <0.01 | Yes
Drouin | Monthly | 12 | 0.01 | <0.01 | Yes
Erica | Monthly | 12 | 0.17 | 0.01 | Yes
Heyfield | Monthly | 12 | 0.4 | <0.01 | No
Jumbuk | Monthly | 12 | 0.08 | <0.01 | Yes
Maffra | Monthly | 12 | <0.01 | <0.01 | Yes
Mirboo North | Monthly | 12 | 0.01 | <0.01 | Yes
Moe | Monthly | 12 | 0.03 | <0.01 | Yes
Morwell | Monthly | 12 | 0.03 | <0.01 | Yes
Neerim South | Monthly | 12 | 0.04 | <0.01 | Yes
Newborough | Monthly | 12 | <0.01 | <0.01 | Yes
Noojee | Monthly | 12 | 0.09 | 0.02 | Yes
Rawson | Monthly | 12 | 0.13 | 0.02 | Yes
Rokeby & Buln Buln | Monthly | 12 | 0.02 | <0.01 | Yes
Rosedale | Monthly | 12 | 0.1 | <0.01 | Yes
Sale/Wurruk | Monthly | 12 | 0.02 | <0.01 | Yes
Seaspray | Monthly | 12 | 0.53 | 0.02 | No
Stratford | Monthly | 12 | 0.03 | <0.01 | Yes
Thorpdale | Monthly | 12 | 0.06 | 0.01 | Yes
Toongabbie | Monthly | 12 | <0.01 | <0.01 | Yes
Trafalgar | Monthly | 12 | <0.01 | <0.01 | Yes
Traralgon | Monthly | 12 | 0.02 | <0.01 | Yes
Traralgon South & Hazelwood North | Monthly | 12 | 0.05 | <0.01 | Yes
Tyers & Glengarry | Monthly | 12 | 0.01 | <0.01 | Yes
Warragul | Monthly | 12 | 0.02 | <0.01 | Yes
Warragul South | Monthly | 12 | 0.03 | <0.01 | Yes
Willow Grove | Monthly | 12 | 0.02 | <0.01 | Yes
Yallourn North | Monthly | 12 | 0.12 | <0.01 | Yes
Yarragon | Monthly | 12 | <0.01 | <0.01 | Yes
Yinnar | Monthly | 12 | 0.1 | <0.01 | Yes

## Page 60
Compliance by locality and population
| Percentage by Locality |  |  | Percentage by Population
Parameter | 2013-2014 | 2014-2015 | 2015-2016 | 2013-2014 | 2014-2015 | 2015-2016
Aluminum | 97.1% | 100% | 100% | 99.8% | 100% | 100%
Chloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Dichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
E. coli | 100% | 100% | 97.1% | 100% | 100% | 88.5%
Trichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Trihalomethanes | 100% | 100% | 100% | 100% | 100% | 100%
Turbidity | 100% | 100% | 100% | 100% | 100% | 100%
Nitrite | 100% | 100% | 100% | 100% | 100% | 100%
Nitrate | 100% | 100% | 100% | 100% | 100% | 100%
Fluoride | 100% | 100% | 100% | 100% | 100% | 100%
Mercury | 100% | 100% | 100% | 100% | 100% | 100%
Chromium | 100% | 100% | 100% | 100% | 100% | 100%
Cadmium | 100% | 100% | 100% | 100% | 100% | 100%
Nickel | 100% | 100% | 100% | 100% | 100% | 100%
Arsenic | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Beryllium | 100% | 100% | 100% | 100% | 100% | 100%
Copper | 100% | 100% | 100% | 100% | 100% | 100%
Barium | 100% | 100% | 100% | 100% | 100% | 100%
Lead | 97.1% | 100% | 100% | 99.9% | 100% | 100%
Manganese | 100% | 100% | 100% | 100% | 100% | 100%
Cyanide | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Molybdenum | 100% | 100% | 100% | 100% | 100% | 100%
Acrylamide | 100% | 100% | 100% | 100% | 100% | 100%
Boron | 100% | 100% | 100% | 100% | 100% | 100%
Chloryl Hydrate | 100% | 100% | 100% | 100% | 100% | 100%
2, 4-Dichlorophenoxy acetic acid | 100% | 100% | 100% | 100% | 100% | 100%
Nitrosodimethylamine | 100% | 100% | 100% | 100% | 100% | 100%
2,4,6-Trichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2,4-Dichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2- Chlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
Pentachlorophenol | 100% | 100% | 100% | 100% | 100% | 100%