## Pages 15-19
Gippsland Water Locality Water Source and Water treatment process
Locality | Estimated Population Serviced1 | Source water | Raw Water Storage | Water Treatment Plant | Treatment process | [9 empty] | Sludge Thickening Dewatering | Added substances
[5 empty] | Coagulation & Flocculation | Clarification |  | Filtration |  | Disinfection |  |  |  | Other
[6 empty] | Sedimentation / Clarification | Dissolved Air Flotation | Granular Media Filter | Membrane | Chlorine Gas | Chloramination | Sodium Hypochlorite | Calcium Hypochlorite | Activated Carbon (PAC / GAC)4 |  | Lime / Soda Ash | Alum Based Coagulants | Iron Based Coagulants | Potassium Permanganate | Polymers | Sodium Fluoride / Hydrofluorosilicic Acid
Maffra | 5530 | Macalister River | N/A | Maffra | X | X |  | X |  | X |  | Stratford and Boisdale |  | X |  | Soda Ash | Alum/PACl-23* |  |  | LT22 | Sodium Fluoride5
Stratford | 2260 | [15 empty] | (High Turbidity)
Boisdale | 80
Briagolong | 790 | Bore (Freestone Creek Aquifer) | N/A | Briagolong | X |  |  | X |  |  |  | X |  |  |  | Soda Ash |  | Polymerised Ferric Sulphate |  | 1115 & 1160
Morwell | 16620 | Tyers River | Moondarra | Morwell | X | X |  |  | X |  |  | X |  | Morwell, Churchill, Jumbuk, Hazelwood Nth, Boolarra | Traralgon South |  |  | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Boolarra | 650
Churchill | 5630
Yinnar | 1200
Jumbuk | 360
Traralgon South/Hazelwood North | 2010
Tyers/Glengarry | 2280 | Tyers River | Moondarra | Tyers | X |  |  |  | X |  |  |  |  | Tyers, Rosedale & Toongabbie |  |  | X | Soda Ash | Alum |  |  | 1115 & 1160
Rosedale | 1810 |  |  | (Plant 1)
Toongabbie | 1020 |  |  | Tyers | X |  | X |  | X |  | X
Cowwarr | 270 |  |  | (Plant 2)
Traralgon | 30950 | Tyers River | Moondarra | Traralgon | X |  | X |  | X |  |  | X | [5 empty] | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Warragul3 | 18390 | Pederson Weir (Tarago River) | Tarago Reservoir (supplementary supply) | Warragul | X |  | X | X |  | X |  | Warragul South & Drouin |  | X1 | X | Lime | Alum |  |  | LT20 | Sodium Fluoride
(including Nilma, |  | Tarago Reservoir - (supplementary supply)
Drouin East)
Warragul South | 160
Drouin | 13140
Rokeby/Buln Buln | 470
Coongulla/ | 260 | Macalister River | Lake Glenmaggie | Coongulla | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1160, 1115
Glenmaggie
Rawson | 330 | Trigger Creek | Amours Basins | Rawson | X |  | X | X |  |  |  | Rawson WTP, Parkers Corner |  |  | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1160
Erica | 340
Heyfield | 2060 | Thomson River | Heyfield raw water storage | Heyfield | X |  |  | X |  | X |  |  |  | X | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160
Mirboo North | 1970 | Little Morwell River | N/A | Mirboo North | X | X | X | X |  |  |  | X |  |  | X | Soda Ash | PASS |  |  | LT20
Moe | 11660 | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride | X
Newborough | 7400
Yallourn North | 1620
Trafalgar | 3770
Yarragon | 1640
Darnum3 | 470
Neerim South | 1340 | Tarago River | Tarago Reservoir | Neerim South | X |  | X | X |  |  | X (Noojee System) | X (Neerim South) |  |  | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160 |  | X
Noojee | 330
Sale/Wurruk | 17880 | Bore (Boisdale Aquifer) | N/A | Sale |  |  |  | X |  | X | [5 empty] | Lime |  |  | X |  | Sodium Fluoride
Seaspray | 230 | Merrimans Creek | Seaspray raw water storage | Seaspray | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1115, 1160
Thorpdale | 210 | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride | X
(water carting from Moe locality) |  | (September 2015 - ongoing)
Willow Grove | 350 | Tanjil River | Blue Rock Lake | Willow Grove | X |  |  | X |  |  | X |  |  |  | X | Soda Ash | Alum |  |  | 1115, 1160

## Page 27
Summary of the Safe Drinking Water Regulations 2015 (Schedule 2)
Parameter | SDWR (2015)
Water Quality Standard
Escherichia coli | All samples of drinking water collected are found to contain no Escherichia coli per 100 millilitres, with the exception of any false positive sample.
Trihalomethanes | 0.25 mg/L
Turbidity | The 95th percentile of results for samples in any 12 month period must be less than or equal to 5×0 Nephelometric Turbidity Units.

## Page 28
Summary of notifications under Section 18
Water Sampling Locality Affected | Date and duration of incident | Location of incident | Nature of the incident | Drinking water supplies affected | Safe Drinking Water Regulations (Schedule 2) – Standard Not Met
There were no events reported to the DHHS pursuant to section 18.

## Page 29
Summary of incidents and actions taken under Section 22
Water Sampling Locality Affected | Date and duration of incident | Location of incident | Nature of the incident | Drinking water supplies affected | Actions taken in response to the incident | Was the community notified
Neerim South | 2016-11-21 | Neerim South Water Reticulation | E. coli detected in drinking water (1 organism/ 100mL) | Neerim South Water Reticulation | DHHS Notification under section 22 SDWA. Extensive flushing undertaken throughout the reticulation network and additional monitoring of water quality parameters undertaken during and after the event. Additional disinfection undertaken at storage. All subsequent reticulation monitoring was compliant. The investigation report was submitted to DHHS, with the initial detection being determined to be a false positive, as per the Safe Drinking Water Regulations (2015). Refresher training of sampling staff undertaken. | No

## Page 30
Water quality complaints per 100 customers supplied
Type of Complaint | 2016-17 |  | 2015-16 | 2014-15 | 2013-14 | 2012-13
| No. of Complaints | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers
Discoloured water | 81 | 0.124 | 0.185 | 0.239 | 0.215 | 0.224
Taste / Odour | 54 | 0.083 | 0.112 | 0.115 | 0.106 | 0.104
Blue water | 1 | 0.002 | 0.003 | 0.006 | 0 | 0.005
Air in water | 17 | 0.026 | 0.026 | 0.064 | 0.058 | 0.058
Alleged illness | 9 | 0.014 | 0.012 | 0.014 | 0.021 | 0.005
Total | 162 | 0.248 | 0.339 | 0.439 | 0.4 | 0.396

## Page 32-33
Customer complaints summary for each sampling locality 2016-17
Water Quality Locality | Population | Total Complaints Received 2016-17 | No. Complaints per 100 customers 2016-17
(Customers = Number of Connections)
Boisdale | 35 | 0 | 0
Boolarra | 309 | 1 | 0.324
Briagolong | 334 | 0 | 0
Churchill | 2309 | 6 | 0.26
Coongulla/Glenmaggie | 407 | 0 | 0
Cowwarr | 118 | 0 | 0
Drouin | 5501 | 12 | 0.218
Erica | 140 | 0 | 0
Heyfield | 948 | 9 | 0.949
Jumbuk | 152 | 2 | 1.316
Maffra | 2420 | 13 | 0.537
Mirboo North | 811 | 8 | 0.986
Moe | 5573 | 15 | 0.269
Morwell | 8003 | 11 | 0.137
Neerim South | 551 | 5 | 0.907
Newborough | 3215 | 3 | 0.093
Noojee | 143 | 1 | 0.699
Rawson | 198 | 1 | 0.505
Rokeby / Buln Buln | 205 | 0 | 0
Rosedale | 799 | 2 | 0.25
Sale / Wurruk | 7840 | 8 | 0.102
Seaspray | 343 | 2 | 0.583
Stratford | 905 | 5 | 0.552
Thorpdale | 91 | 1 | 1.099
Toongabbie | 365 | 1 | 0.274
Trafalgar | 1741 | 2 | 0.115
Traralgon | 13154 | 23 | 0.175
Traralgon South / Hazelwood Nth | 685 | 2 | 0.292
Tyers / Glengarry | 796 | 2 | 0.251
Warragul | 7705 | 19 | 0.247
Warragul South | 69 | 0 | 0
Willow Grove | 150 | 1 | 0.667
Yallourn North | 704 | 1 | 0.142
Yarragon | 713 | 4 | 0.561
Yinnar | 498 | 2 | 0.402

## Page 37
E. coli detections for localities 2016-17
Locality | No. of investigations conducted (s.22) | No. of confirmed false positives | No. of investigations where standard not met (s.18)
Neerim South | 1 | 1 | 0

## Page 37-38
E. coli results for all localities for 2016-17
Locality | Frequency of Sampling | Number of samples | Maximum Detected (orgs/100mL) | No. of detections and investigations conducted (s.22) | No. of samples where standard was not met (s.18)
Boisdale | Weekly | 104 | 0 | 0 | 0
Boolarra | Weekly | 104 | 0 | 0 | 0
Briagolong | Weekly | 104 | 0 | 0 | 0
Churchill | Weekly | 168 | 0 | 0 | 0
Coongulla-Glenmaggie | Weekly | 104 | 0 | 0 | 0
Cowwarr | Weekly | 52 | 0 | 0 | 0
Drouin | Weekly | 155 | 0 | 0 | 0
Erica | Weekly | 52 | 0 | 0 | 0
Heyfield | Weekly | 104 | 0 | 0 | 0
Jumbuk | Weekly | 104 | 0 | 0 | 0
Maffra | Weekly | 116 | 0 | 0 | 0
Mirboo North | Weekly | 104 | 0 | 0 | 0
Moe | Weekly | 156 | 0 | 0 | 0
Morwell | Weekly | 231 | 0 | 0 | 0
Neerim South | Weekly | 104 | 1 | 1 | 0
Newborough | Weekly | 104 | 0 | 0 | 0
Noojee | Weekly | 156 | 0 | 0 | 0
Rawson | Weekly | 104 | 0 | 0 | 0
Rokeby-Buln Buln | Weekly | 52 | 0 | 0 | 0
Rosedale | Weekly | 104 | 0 | 0 | 0
Sale-Wurruk | Weekly | 195 | 0 | 0 | 0
Seaspray | Weekly | 104 | 0 | 0 | 0
Stratford | Weekly | 52 | 0 | 0 | 0
Thorpdale | Weekly | 104 | 0 | 0 | 0
Toongabbie | Weekly | 104 | 0 | 0 | 0
Trafalgar | Weekly | 116 | 0 | 0 | 0
Traralgon | Weekly | 156 | 0 | 0 | 0
Traralgon South-Hazelwood North | Weekly | 52 | 0 | 0 | 0
Tyers-Glengarry | Weekly | 104 | 0 | 0 | 0
Warragul | Weekly | 201 | 0 | 0 | 0
Warragul South | Weekly | 104 | 0 | 0 | 0
Willow Grove | Weekly | 104 | 0 | 0 | 0
Yallourn North | Weekly | 104 | 0 | 0 | 0
Yarragon | Weekly | 104 | 0 | 0 | 0
Yinnar | Weekly | 52 | 0 | 0 | 0

## Page 39
Trihalomethanes results for all localities for 2016-17
Locality | Frequency of sampling | No. of samples | No. of non-complying samples | Max | Min | Complying (Yes/No)
|  |  |  | (mg/L) | (mg/L)
Boisdale | Monthly | 12 | 0 | 0.062 | 0.036 | Yes
Boolarra | Monthly | 12 | 0 | 0.086 | 0.056 | Yes
Briagolong | Monthly | 12 | 0 | 0.01 | 0.002 | Yes
Churchill | Monthly | 12 | 0 | 0.069 | 0.028 | Yes
Coongulla-Glenmaggie | Monthly | 12 | 0 | 0.009 | 0.003 | Yes
Cowwarr | Monthly | 12 | 0 | 0.08 | 0.056 | Yes
Drouin | Monthly | 12 | 0 | 0.077 | 0.038 | Yes
Erica | Monthly | 12 | 0 | 0.042 | 0.019 | Yes
Heyfield | Monthly | 12 | 0 | 0.031 | 0.012 | Yes
Jumbuk | Monthly | 12 | 0 | 0.101 | 0.046 | Yes
Maffra | Monthly | 12 | 0 | 0.049 | 0.02 | Yes
Mirboo North | Monthly | 12 | 0 | 0.039 | 0.021 | Yes
Moe | Monthly | 12 | 0 | 0.044 | 0.019 | Yes
Morwell | Monthly | 12 | 0 | 0.042 | 0.017 | Yes
Neerim South | Monthly | 12 | 0 | 0.049 | 0.029 | Yes
Newborough | Monthly | 12 | 0 | 0.052 | 0.029 | Yes
Noojee | Monthly | 12 | 0 | 0.031 | 0.022 | Yes
Rawson | Monthly | 12 | 0 | 0.035 | 0.015 | Yes
Rokeby-Buln Buln | Monthly | 12 | 0 | 0.086 | 0.032 | Yes
Rosedale | Monthly | 12 | 0 | 0.112 | 0.048 | Yes
Sale-Wurruk | Monthly | 12 | 0 | 0.027 | 0.015 | Yes
Seaspray | Weekly | 194 | 0 | 0.169 | 0.082 | Yes
Stratford | Monthly | 12 | 0 | 0.051 | 0.021 | Yes
Thorpdale | Monthly | 12 | 0 | 0.079 | 0.048 | Yes
Toongabbie | Monthly | 12 | 0 | 0.064 | 0.046 | Yes
Trafalgar | Monthly | 12 | 0 | 0.044 | 0.03 | Yes
Traralgon | Monthly | 12 | 0 | 0.05 | 0.014 | Yes
Traralgon South-Hazelwood North | Monthly | 12 | 0 | 0.062 | 0.028 | Yes
Tyers-Glengarry | Monthly | 12 | 0 | 0.064 | 0.036 | Yes
Warragul | Monthly | 12 | 0 | 0.088 | 0.027 | Yes
Warragul South | Monthly | 12 | 0 | 0.099 | 0.049 | Yes
Willow Grove | Monthly | 12 | 0 | 0.003 | <0.001 | Yes
Yallourn North | Monthly | 12 | 0 | 0.066 | 0.037 | Yes
Yarragon | Monthly | 12 | 0 | 0.052 | 0.035 | Yes
Yinnar | Monthly | 12 | 0 | 0.074 | 0.04 | Yes

## Page 40
Turbidity results for all localities in 2016-17
Locality | Frequency of Sampling | Number of Samples | Maximum turbidity in a sample (NTU) | Maximum 95th Percentile of turbidity results in any 12 months (NTU) | No. of 95th Percentile of results in any 12 months above standard (s.18) | Complying (Yes/No)
Boisdale | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Boolarra | Weekly | 52 | 0.4 | 0.3 | 0 | Yes
Briagolong | Weekly | 52 | 0.3 | 0.1 | 0 | Yes
Churchill | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Coongulla/Glenmaggie | Weekly | 52 | 0.5 | 0.5 | 0 | Yes
Cowwarr | Weekly | 52 | 0.5 | 0.2 | 0 | Yes
Drouin | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Erica | Weekly | 52 | 1.8 | 0.6 | 0 | Yes
Heyfield | Weekly | 52 | 0.4 | 0.3 | 0 | Yes
Jumbuk | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Maffra | Weekly | 52 | 0.1 | 0.1 | 0 | Yes
Mirboo North | Weekly | 52 | 0.6 | 0.1 | 0 | Yes
Moe | Weekly | 52 | 0.4 | 0.1 | 0 | Yes
Morwell | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Neerim South | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Newborough | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Noojee | Weekly | 52 | 0.4 | 0.3 | 0 | Yes
Rawson | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Rokeby/Buln Buln | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Rosedale | Weekly | 52 | 0.4 | 0.4 | 0 | Yes
Sale/Wurruk | Weekly | 52 | 0.4 | 0.1 | 0 | Yes
Seaspray | Weekly | 52 | 0.8 | 0.7 | 0 | Yes
Stratford | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Thorpdale | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Toongabbie | Weekly | 52 | 0.3 | 0.3 | 0 | Yes
Trafalgar | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Traralgon | Weekly | 52 | 0.5 | 0.2 | 0 | Yes
Traralgon South/ | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Hazelwood North
Tyers/Glengarry | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Warragul | Weekly | 105 | 0.4 | 0.2 | 0 | Yes
Warragul South | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Willow Grove | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Yallourn North | Weekly | 52 | 0.1 | 0.1 | 0 | Yes
Yarragon | Weekly | 52 | 0.1 | 0.1 | 0 | Yes
Yinnar | Weekly | 52 | 0.6 | 0.2 | 0 | Yes

## Page 41
Fluoride results for all fluoridated localities in 2016-17
Treatment Plant | Locality | Frequency of Sampling | Number of Samples | Operating Target | Max | Min | Overall Average1 | Operating Average2 | Comply3 | Meeting Obligations4
[5 empty] | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (Yes /No) | (Yes/No)
Maffra* | Boisdale | Weekly | 52 | 0.9 | 0.91 | <0.05 | 0.56 | 0.85 | Yes | No
| Maffra | Weekly | 104 | 0.9 | 0.96 | <0.05 | 0.6 | 0.85 | Yes | Yes
| Stratford | Weekly | 52 | 0.9 | 0.91 | <0.05 | 0.57 | 0.84 | Yes | No
Morwell | Churchill | Monthly | 52 | 0.9 | 0.98 | 0.66 | 0.85 | 0.85 | Yes | Yes
| Boolarra | Monthly | 53 | 0.9 | 0.92 | 0.75 | 0.86 | 0.86 | Yes | Yes
| Jumbuk | Monthly | 52 | 0.9 | 0.93 | 0.74 | 0.86 | 0.86 | Yes | Yes
| Morwell | Weekly | 104 | 0.9 | 0.98 | 0.44 | 0.86 | 0.86 | Yes | Yes
| Traralgon South/ | Monthly | 52 | 0.9 | 0.92 | 0.68 | 0.86 | 0.86 | Yes | Yes
Hazelwood North
| Yinnar | Monthly | 52 | 0.9 | 0.91 | 0.73 | 0.86 | 0.86 | Yes | Yes
Moe5 | Moe | Weekly | 104 | 0.9 | 0.91 | 0.49 | 0.82 | 0.83 | Yes | Yes
| Newborough | Monthly | 52 | 0.9 | 0.89 | 0.72 | 0.83 | 0.83 | Yes | Yes
| Trafalgar | Monthly | 52 | 0.9 | 0.92 | 0.7 | 0.83 | 0.83 | Yes | Yes
| Yallourn North | Monthly | 52 | 0.9 | 0.88 | 0.74 | 0.83 | 0.83 | Yes | Yes
| Thorpdale6 | Monthly | 52 | 0.9 | 0.9 | 0.72 | 0.82 | 0.82 | Yes | Yes
| Yarragon | Monthly | 52 | 0.9 | 0.89 | 0.7 | 0.83 | 0.83 | Yes | Yes
Sale | Sale/Wurruk | Weekly | 104 | 0.9 | 0.97 | 0.77 | 0.88 | 0.88 | Yes | Yes
Traralgon* | Traralgon | Weekly | 104 | 0.9 | 0.91 | <0.05 | 0.8 | 0.82 | Yes | Yes
Warragul | Drouin | Weekly | 52 | 0.9 | 1.07 | 0.65 | 0.85 | 0.85 | Yes | Yes
| Rokeby/Buln Buln | Weekly | 52 | 0.9 | 1.13 | 0.64 | 0.86 | 0.86 | Yes | Yes
| Warragul | Weekly | 104 | 0.9 | 1.12 | 0.57 | 0.84 | 0.85 | Yes | Yes
| Warragul South | Weekly | 52 | 0.9 | 0.98 | 0.7 | 0.83 | 0.83 | Yes | Yes

## Page 50
Other sampled parameter results for all localities in 2016-17
Parameter | Frequency of sampling | 2016-17 | 2016-17 | 2015-16 |  | Health Based Guideline value (mg/L) | Result
|  | No. of | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L) | 2014-15
|  | Samples |  |  | Maximum Value Recorded for All Localities (mg/L)
Nitrite | Weekly*/6 Monthly | 443 | 0.7 | 0.4 | 0 | < 3 | All results below ADWG health guideline values
Mercury | Quarterly | 300 | <0.0001 | <0.0001 | <0.0001 | < 0.001
Chromium | Quarterly | 156 | <0.001 | <0.001 | <0.001 | < 0.05
Cadmium | Quarterly | 156 | <0.0002 | <0.0002 | <0.002 | < 0.002
Nitrate | Weekly*/Quarterly | 300 | 1.5 | 1.4 | 1.4 | < 50
Nickel | Annually | 51 | 0.006 | 0.004 | 0.003 | < 0.02
Arsenic | Annually/Quarterly | 131 | <0.001 | <0.001 | <0.001 | < 0.01
Cyanide | Annually | 37 | <0.002 | <0.005 | <0.001 | < 0.08
Selenium | Annually/Quarterly | 131 | <0.001 | <0.001 | <0.001 | < 0.01
Beryllium | Annually/6 Monthly | 88 | <0.001 | <0.01 | <0.001 | < 0.06
Chloryl Hydrate | Monthly | 432 | 0.03 | 0.02 | 0.022 | < 0.1
2, 4-Dichlorophenoxy acetic acid | Monthly | 432 | <0.01 | <0.01 | <0.01 | < 0.03
Nitrosodimethylamine | Monthly** | 24 | 1.2e-05 | 8e-06 | 7e-06 | < 0.0001
2,4,6-Trichlorophenol | Monthly*** | 424 | <0.001 | <0.001 | <0.001 | < 0.02
2,4-Dichlorophenol | Monthly*** | 424 | <0.001 | <0.001 | <0.001 | < 0.2
2- Chlorophenol | Monthly*** | 424 | <0.001 | <0.001 | <0.001 | < 0.3
Pentachlorophenol | Monthly | 432 | <0.001 | <0.001 | <0.001 | < 0.01
Parameter | Frequency of sampling | 2016-17 | 2016-17 | 2015-16 | 2014-15 | Aesthetic Based Guideline value (mg/L) | Result
|  | No. of | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L)
Samples
Chloride | Annually/Quarterly | 197 | 160 | 140 | 160 | <250 | All results below ADWG health guideline values
Zinc | Annually | 73 | 0.01 | 0.025 | 0.021 | <3
Hardness (CaCO3) | Annually/Quarterly | 131 | 120 | 130 | ---- | <200
Total dissolved solids | Annually/Quarterly | 133 | 340 | 360 | 230 | <600
Silica | Annually/Quarterly | 127 | 16 | 15 | 8.1 | <80
Sulphate | Annually/Quarterly | 22 | 23 | 45 | 34 | <250

## Page 51
Routine BGA monitoring for raw water supplies in 2016-17 (samples per month collected)
Location | Jul | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
| ‘16 | ‘16 | ‘16 | ‘16 | ‘16 | ‘16 | ‘17 | ‘17 | ‘17 | ‘17 | ‘17 | ‘17
Maffra Weir | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2
Heyfield Raw Water Storage | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2
Thorpdale Raw Water Storage | Jul: No longer in use (drained)
Neerim South Tarago Reservoir | bar: Jul to Jun
Rawson Amours Basin | bar: Jan to Jun
Seaspray Raw Water Storage | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2
Blue Rock Lake | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Willow Grove WTP Inlet - Blue Rock | bar: Jul to Jun
Lake Glenmaggie | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Coongulla WTP Inlet – Lake Glenmaggie | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2 | 2
Tarago Reservoir | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 1
(Melbourne Water BGA Program)
Warragul WTP Inlet – Tarago Reservoir | bar: Jul to Jun
Moondarra Surface | bar: Jul to Jun
Moondarra pipeline | bar: Jul; Jan to Jun
Moondarra Upper reaches | Jul: As required

## Page 52
Manganese results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 12 | 0.001 | <0.001 | Yes
Boolarra | Weekly | 64 | 0.002 | <0.001 | Yes
Briagolong | Weekly | 64 | 0.002 | <0.001 | Yes
Churchill | Monthly | 12 | <0.001 | <0.001 | Yes
Coongulla/Glenmaggie | Weekly | 64 | 0.001 | <0.001 | Yes
Cowwarr | Monthly | 12 | <0.001 | <0.001 | Yes
Drouin | Monthly | 12 | 0.001 | <0.001 | Yes
Erica | Monthly | 12 | 0.008 | 0.004 | Yes
Heyfield | Weekly | 64 | 0.016 | 0.002 | Yes
Jumbuk | Monthly | 12 | <0.001 | <0.001 | Yes
Maffra | Weekly | 64 | 0.047 | <0.001 | Yes
Mirboo North | Weekly | 64 | 0.015 | <0.001 | Yes
Moe | Weekly | 64 | 0.017 | <0.001 | Yes
Morwell | Weekly | 64 | 0.01 | <0.001 | Yes
Neerim South | Weekly | 64 | 0.023 | 0.007 | Yes
Newborough | Monthly | 12 | 0.002 | <0.001 | Yes
Noojee | Monthly | 12 | 0.022 | 0.007 | Yes
Rawson | Weekly | 64 | 0.013 | 0.004 | Yes
Rokeby/Buln Buln | Monthly | 12 | 0.002 | <0.001 | Yes
Rosedale | Monthly | 12 | <0.001 | <0.001 | Yes
Sale/Wurruk | Weekly | 64 | 0.004 | <0.001 | Yes
Seaspray | Weekly | 64 | 0.011 | 0.005 | Yes
Stratford | Monthly | 12 | 0.002 | <0.001 | Yes
Thorpdale | Weekly | 64 | 0.009 | <0.001 | Yes
Toongabbie | Monthly | 12 | <0.001 | <0.001 | Yes
Trafalgar | Weekly | 64 | 0.003 | <0.001 | Yes
Traralgon | Weekly | 64 | 0.009 | <0.001 | Yes
Traralgon South/Hazelwood North | Monthly | 12 | <0.001 | <0.001 | Yes
Tyers/Glengarry | Weekly | 64 | 0.008 | <0.001 | Yes
Warragul | Weekly | 115 | 0.007 | <0.001 | Yes
Warragul South | Monthly | 12 | 0.002 | <0.001 | Yes
Willow Grove | Weekly | 64 | 0.014 | <0.001 | Yes
Yallourn North | Monthly | 12 | 0.001 | <0.001 | Yes
Yarragon | Weekly | 64 | 0.002 | <0.001 | Yes
Yinnar | Monthly | 12 | 0.001 | <0.001 | Yes

## Page 53
Lead results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Boolarra | Quarterly | 4 | <0.001 | <0.001 | Yes
Briagolong | Quarterly | 4 | <0.001 | <0.001 | Yes
Churchill | Quarterly | 4 | <0.001 | <0.001 | Yes
Coongulla/Glenmaggie | Quarterly | 4 | <0.001 | <0.001 | Yes
Cowwarr | Quarterly | 4 | <0.001 | <0.001 | Yes
Drouin | Quarterly | 4 | <0.001 | <0.001 | Yes
Erica | Quarterly | 4 | 0.002 | <0.001 | Yes
Heyfield | Quarterly | 4 | <0.001 | <0.001 | Yes
Jumbuk | Quarterly | 4 | <0.001 | <0.001 | Yes
Maffra | Quarterly | 4 | <0.001 | <0.001 | Yes
Mirboo North | Quarterly | 4 | <0.001 | <0.001 | Yes
Moe | Quarterly | 4 | <0.001 | <0.001 | Yes
Morwell | Quarterly | 4 | <0.001 | <0.001 | Yes
Neerim South | Quarterly | 4 | <0.001 | <0.001 | Yes
Newborough | Quarterly | 4 | <0.001 | <0.001 | Yes
Noojee | Quarterly | 4 | <0.001 | <0.001 | Yes
Rawson | Quarterly | 4 | <0.001 | <0.001 | Yes
Rokeby/Buln Buln | Quarterly | 4 | <0.001 | <0.001 | Yes
Rosedale | Quarterly | 4 | <0.001 | <0.001 | Yes
Sale/Wurruk | Quarterly | 4 | <0.001 | <0.001 | Yes
Seaspray | Quarterly | 4 | <0.001 | <0.001 | Yes
Stratford | Quarterly | 4 | <0.001 | <0.001 | Yes
Thorpdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Toongabbie | Quarterly | 4 | <0.001 | <0.001 | Yes
Trafalgar | Quarterly | 4 | <0.001 | <0.001 | Yes
Traralgon | Quarterly | 4 | <0.001 | <0.001 | Yes
Traralgon South/Hazelwood North | Quarterly | 4 | <0.001 | <0.001 | Yes
Tyers/Glengarry | Quarterly | 4 | <0.001 | <0.001 | Yes
Warragul | Monthly/Quarterly | 16 | <0.001 | <0.001 | Yes
Warragul South | Quarterly | 4 | <0.001 | <0.001 | Yes
Willow Grove | Quarterly | 4 | <0.001 | <0.001 | Yes
Yallourn North | Quarterly | 4 | <0.001 | <0.001 | Yes
Yarragon | Quarterly | 4 | <0.001 | <0.001 | Yes
Yinnar | Quarterly | 4 | <0.001 | <0.001 | Yes

## Page 54
Copper results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | 0.007 | 0.004 | Yes
Boolarra | Quarterly | 4 | 0.004 | 0.002 | Yes
Briagolong | Quarterly | 4 | 0.13 | 0.004 | Yes
Churchill | Quarterly | 4 | 0.007 | 0.003 | Yes
Coongulla/Glenmaggie | Quarterly | 4 | 0.004 | 0.001 | Yes
Cowwarr | Quarterly | 4 | 0.015 | <0.001 | Yes
Drouin | Quarterly | 4 | 0.034 | 0.014 | Yes
Erica | Quarterly | 4 | 0.044 | 0.006 | Yes
Heyfield | Quarterly | 4 | 0.042 | 0.011 | Yes
Jumbuk | Quarterly | 4 | 0.007 | 0.002 | Yes
Maffra | Quarterly | 4 | 0.095 | 0.004 | Yes
Mirboo North | Quarterly | 4 | 0.022 | 0.002 | Yes
Moe | Quarterly | 4 | 0.05 | 0.002 | Yes
Morwell | Quarterly | 4 | 0.015 | 0.001 | Yes
Neerim South | Quarterly | 4 | 0.043 | 0.013 | Yes
Newborough | Quarterly | 4 | 0.051 | 0.003 | Yes
Noojee | Quarterly | 4 | 0.012 | 0.007 | Yes
Rawson | Quarterly | 4 | 0.086 | 0.006 | Yes
Rokeby/Buln Buln | Quarterly | 4 | 0.013 | 0.002 | Yes
Rosedale | Quarterly | 4 | 0.038 | 0.003 | Yes
Sale/Wurruk | Quarterly | 4 | 0.015 | 0.004 | Yes
Seaspray | Quarterly | 4 | 0.043 | 0.013 | Yes
Stratford | Quarterly | 4 | 0.018 | 0.006 | Yes
Thorpdale | Quarterly | 4 | 0.006 | <0.001 | Yes
Toongabbie | Quarterly | 4 | 0.026 | 0.009 | Yes
Trafalgar | Quarterly | 4 | 0.008 | 0.004 | Yes
Traralgon | Quarterly | 4 | 0.014 | 0.002 | Yes
Traralgon South/Hazelwood North | Quarterly | 4 | 0.004 | 0.003 | Yes
Tyers/Glengarry | Quarterly | 4 | 0.015 | 0.005 | Yes
Warragul | Monthly/Quarterly | 16 | 0.013 | <0.001 | Yes
Warragul South | Quarterly | 4 | 0.022 | <0.001 | Yes
Willow Grove | Quarterly | 4 | 0.028 | 0.002 | Yes
Yallourn North | Quarterly | 4 | 0.007 | 0.003 | Yes
Yarragon | Quarterly | 4 | 0.009 | 0.002 | Yes
Yinnar | Quarterly | 4 | 0.004 | <0.001 | Yes

## Page 55
pH results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Average
|  |  | (units) | (units) | (units)
Boisdale | Weekly | 52 | 7.8 | 7.4 | 7.6
Boolarra | Weekly | 52 | 8 | 7.3 | 7.6
Briagolong | Weekly | 52 | 7.4 | 6.9 | 7.1
Churchill | Weekly | 52 | 8.7 | 7.1 | 7.4
Coongulla/Glenmaggie | Weekly | 52 | 9 | 7.3 | 8
Cowwarr | Weekly | 52 | 8.4 | 7.2 | 7.8
Drouin | Weekly | 52 | 7.6 | 6.9 | 7.2
Erica | Weekly | 52 | 8.3 | 7 | 7.4
Heyfield | Weekly | 52 | 7.6 | 7 | 7.2
Jumbuk | Weekly | 52 | 7.7 | 7.1 | 7.4
Maffra | Weekly | 52 | 7.8 | 7.1 | 7.3
Mirboo North | Weekly | 52 | 7.7 | 7.1 | 7.4
Moe | Weekly | 52 | 7.8 | 7 | 7.2
Morwell | Weekly | 52 | 7.9 | 6.8 | 7.3
Neerim South | Weekly | 52 | 7.5 | 6.9 | 7.2
Newborough | Weekly | 52 | 8.7 | 7 | 7.3
Noojee | Weekly | 52 | 7.9 | 7.2 | 7.5
Rawson | Weekly | 52 | 7.5 | 6.9 | 7.2
Rokeby/Buln Buln | Weekly | 52 | 7.6 | 6.9 | 7.2
Rosedale | Weekly | 52 | 9.1 | 7.3 | 8.1
Sale/Wurruk | Weekly | 52 | 8.4 | 7.1 | 7.4
Seaspray | Weekly | 52 | 7.7 | 6.8 | 7.2
Stratford | Weekly | 52 | 7.8 | 7.2 | 7.5
Thorpdale | Weekly | 52 | 8.8 | 7.6 | 8.1
Toongabbie | Weekly | 52 | 7.4 | 7.1 | 7.3
Trafalgar | Weekly | 52 | 7.5 | 7.2 | 7.3
Traralgon | Weekly | 52 | 7.5 | 6.9 | 7.2
Traralgon South/Hazelwood North | Weekly | 52 | 8.9 | 7 | 7.4
Tyers/Glengarry | Weekly | 52 | 8.4 | 7.1 | 7.3
Warragul | Weekly | 105 | 8.6 | 6.9 | 7.6
Warragul South | Weekly | 52 | 8.4 | 7 | 7.3
Willow Grove | Weekly | 52 | 8.4 | 7.1 | 7.6
Yallourn North | Weekly | 52 | 7.5 | 7.1 | 7.4
Yarragon | Weekly | 52 | 8.6 | 7.3 | 8
Yinnar | Weekly | 52 | 7.8 | 7.2 | 7.4

## Page 56
Iron results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 13 | 0.01 | <0.01 | Yes
Boolarra | Weekly | 65 | 0.1 | 0.02 | Yes
Briagolong | Weekly | 61 | 0.1 | <0.01 | Yes
Churchill | Monthly | 13 | 0.03 | <0.01 | Yes
Coongulla/Glenmaggie | Weekly | 65 | 0.04 | <0.01 | Yes
Cowwarr | Monthly | 13 | 0.01 | <0.01 | Yes
Drouin | Monthly | 13 | 0.02 | <0.01 | Yes
Erica | Monthly | 12 | 0.25 | 0.03 | Yes
Heyfield | Weekly | 64 | 0.07 | <0.01 | Yes
Jumbuk | Monthly | 13 | 0.06 | <0.01 | Yes
Maffra | Weekly | 65 | 0.02 | <0.01 | Yes
Mirboo North | Weekly | 64 | 0.01 | <0.01 | Yes
Moe | Weekly | 65 | 0.08 | <0.01 | Yes
Morwell | Weekly | 65 | 0.04 | <0.01 | Yes
Neerim South | Weekly | 64 | 0.06 | 0.02 | Yes
Newborough | Monthly | 13 | 0.01 | <0.01 | Yes
Noojee | Monthly | 12 | 0.1 | 0.03 | Yes
Rawson | Weekly | 64 | 0.25 | 0.02 | Yes
Rokeby/Buln Buln | Monthly | 13 | 0.03 | <0.01 | Yes
Rosedale | Monthly | 12 | 0.05 | <0.01 | Yes
Sale/Wurruk | Weekly | 64 | 0.02 | <0.01 | Yes
Seaspray | Weekly | 64 | 0.29 | 0.01 | Yes
Stratford | Monthly | 13 | 0.03 | <0.01 | Yes
Thorpdale | Weekly | 64 | 0.14 | 0.01 | Yes
Toongabbie | Monthly | 12 | <0.01 | <0.01 | Yes
Trafalgar | Weekly | 65 | 0.02 | <0.01 | Yes
Traralgon | Weekly | 65 | 0.03 | <0.01 | Yes
Traralgon South/Hazelwood North | Monthly | 13 | 0.01 | <0.01 | Yes
Tyers/Glengarry | Weekly | 64 | 0.02 | <0.01 | Yes
Warragul | Weekly | 117 | 0.12 | <0.01 | Yes
Warragul South | Monthly | 13 | 0.02 | <0.01 | Yes
Willow Grove | Weekly | 63 | 0.04 | <0.01 | Yes
Yallourn North | Monthly | 13 | 0.02 | <0.01 | Yes
Yarragon | Weekly | 65 | 0.01 | <0.01 | Yes
Yinnar | Monthly | 13 | 0.07 | <0.01 | Yes

## Page 60
Compliance by locality and population
| Percentage by Locality |  |  | Percentage by Population
Parameter | 2014-15 | 2015-16 | 2016-17 | 2014-15 | 2015-16 | 2016-17
Aluminum | 100% | 100% | 100% | 100% | 100% | 100%
Chloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Dichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
E. coli | 100% | 97.1% | 100% | 100% | 88.5% | 100%
Trichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Trihalomethanes | 100% | 100% | 100% | 100% | 100% | 100%
Turbidity | 100% | 100% | 100% | 100% | 100% | 100%
Nitrite | 100% | 100% | 100% | 100% | 100% | 100%
Nitrate | 100% | 100% | 100% | 100% | 100% | 100%
Fluoride | 100% | 100% | 100% | 100% | 100% | 100%
Mercury | 100% | 100% | 100% | 100% | 100% | 100%
Chromium | 100% | 100% | 100% | 100% | 100% | 100%
Cadmium | 100% | 100% | 100% | 100% | 100% | 100%
Nickel | 100% | 100% | 100% | 100% | 100% | 100%
Arsenic | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Beryllium | 100% | 100% | 100% | 100% | 100% | 100%
Copper | 100% | 100% | 100% | 100% | 100% | 100%
Barium | 100% | 100% | 100% | 100% | 100% | 100%
Lead | 100% | 100% | 100% | 100% | 100% | 100%
Manganese | 100% | 100% | 100% | 100% | 100% | 100%
Cyanide | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Molybdenum | 100% | 100% | 100% | 100% | 100% | 100%
Acrylamide | 100% | 100% | 100% | 100% | 100% | 100%
Boron | 100% | 100% | 100% | 100% | 100% | 100%
Chloryl Hydrate | 100% | 100% | 100% | 100% | 100% | 100%
2, 4-Dichlorophenoxy acetic acid | 100% | 100% | 100% | 100% | 100% | 100%
Nitrosodimethylamine | 100% | 100% | 100% | 100% | 100% | 100%
2,4,6-Trichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2,4-Dichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2- Chlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
Pentachlorophenol | 100% | 100% | 100% | 100% | 100% | 100%