## Page 17-21
Locality | Estimated Population Serviced1 | Source water | Raw Water Storage | Water Treatment Plant | Treatment process | [9 empty] | Sludge Thickening Dewatering | Added substances
[5 empty] | Coagulation & Flocculation | Clarification |  | Filtration |  | Disinfection |  |  |  | Other
[6 empty] | Sedimentation / Clarification | Dissolved Air Flotation | Granular Media Filter | Membrane | Chlorine Gas | Chloramination | Sodium Hypochlorite | Calcium Hypochlorite | Activated Carbon (PAC / GAC)4 |  | Lime / Soda Ash | Alum Based Coagulants | Iron Based Coagulants | Potassium Permanganate | Polymers | Sodium Fluoride / Hydrofluorosilicic Acid | Calgon T
Maffra | 5530 | Macalister River | N/A | Maffra | X | X |  | X |  | X |  | Stratford and Boisdale |  | X |  | Soda Ash | Alum/PACl-23* |  |  | LT22 | Sodium Fluoride5
Stratford | 2260 | [15 empty] | (High Turbidity)
Boisdale | 80
Briagolong | 790 | Bore (Freestone Creek Aquifer) | N/A | Briagolong | X |  |  | X |  |  |  | X |  |  |  | Soda Ash |  | Polymerised Ferric Sulphate |  | 1115 & 1160
Morwell | 16620 | Tyers River | Moondarra | Morwell | X | X |  | X |  | X |  | Morwell, Churchill, Jumbuk, Hazelwood Nth, Boolarra | Traralgon South |  |  | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Boolarra | 650
Churchill | 5630
Yinnar | 1200
Jumbuk | 360
Traralgon South/Hazelwood North | 2010
Tyers/Glengarry | 2280 | Tyers River | Moondarra | Tyers | X |  |  | X |  |  |  | Tyers, Rosedale & Toongabbie |  |  | X | Soda Ash | Alum |  |  | 1115 & 1160
Rosedale | 1810 |  |  | (Plant 1)
Toongabbie | 1020 |  |  | Tyers | X |  | X | X | X
Cowwarr | 270 |  |  | (Plant 2)
Traralgon | 30950 | Tyers River | Moondarra | Traralgon | X |  | X | X |  | X | [5 empty] | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride
Warragul3 | 18390 | Pederson Weir (Tarago River) | Tarago Reservoir (supplementary supply) | Warragul | X |  | X | X |  | X |  | Warragul South & Drouin |  | X1 | X | Lime | Alum |  |  | LT20 | Sodium Fluoride
(including Nilma, |  | Tarago Reservoir - (supplementary supply)
Drouin East)
Warragul South | 160
Drouin | 13140
Rokeby/Buln Buln | 470
Coongulla/ | 260 | Macalister River | Lake Glenmaggie | Coongulla | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1160, 1115
Glenmaggie
Rawson | 330 | Trigger Creek | Amours Basins | Rawson | X |  | X | X |  |  |  | Rawson WTP, Parkers Corner |  |  | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1160
Erica | 340
Heyfield | 2060 | Thomson River | Heyfield raw water storage | Heyfield | X |  |  | X |  | X |  |  |  | X | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160
Mirboo North | 1970 | Little Morwell River | N/A | Mirboo North | X | X | X | X |  |  |  | X |  |  | X | Soda Ash | PASS |  |  | LT20
Moe | 11660 | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride | X
Newborough | 7400
Yallourn North | 1620
Trafalgar | 3770
Yarragon | 1640
Darnum3 | 470
Neerim South | 1340 | Tarago River | Tarago Reservoir | Neerim South | X |  | X | X |  |  | X (Noojee System) | X (Neerim South) |  |  | X | Soda Ash |  | PFS (Polymerised Ferric Sulphate) |  | 1115, 1160 |  | X
Noojee | 330
Sale/Wurruk | 17880 | Bore (Boisdale Aquifer) | N/A | Sale |  |  |  | X |  | X | [5 empty] | Lime |  |  | X |  | Sodium Fluoride
Seaspray | 230 | Merrimans Creek | Seaspray raw water storage | Seaspray | X |  |  | X |  |  |  | X |  | X | X | Soda Ash | Alum 90 |  |  | 1115, 1160
Thorpdale | 210 | Tanjil River and Narracan Creek | N/A | Moe | X | X |  | X |  | X |  | Newborough, Yallourn North, Trafalgar, Yarragon & Darnum |  |  | X | Soda Ash | Alum |  |  | LT20 | Sodium Fluoride | X
(water carting from Moe locality) |  | (September 2015 - ongoing)
Willow Grove | 350 | Tanjil River | Blue Rock Lake | Willow Grove | X |  |  | X |  |  | X |  |  |  | X | Soda Ash | Alum |  |  | 1115, 1160

## Page 30
Summary of the Safe Drinking Water Regulations 2015 (Schedule 2)
Parameter | SDWR (2015)
Water Quality Standard
Escherichia coli | All samples of drinking water collected are found to contain no Escherichia coli per 100 millilitres, with the exception of any false positive sample.
Trihalomethanes | 0.25 mg/L
Turbidity | The 95th percentile of results for samples in any 12 month period must be less than or equal to 5×0 Nephelometric Turbidity Units.

## Page 31
Summary of notifications under Section 18
Water Sampling Locality Affected | Date and duration of incident | Location of incident | Nature of the incident | Drinking water supplies affected | Safe Drinking Water Regulations (Schedule 2) – Standard Not Met
There were no events reported to the DHHS pursuant to section 18.

## Page 32
Summary of incidents and actions taken under Section 22
Water Sampling Locality Affected | Date and duration of incident | Location of incident | Nature of the incident | Drinking water supplies affected | Actions taken in response to the incident | Was the community notified
Boolarra | 2018-05-22 | Boolarra Water Reticulation | E. coli detected in drinking water (1 organism/ 100mL) | Boolarra Water Reticulation | DHHS Notification under section 22 SDWA. Extensive flushing undertaken throughout the reticulation network and additional monitoring of water quality parameters undertaken during and after the event. Additional disinfection undertaken at storage. All subsequent reticulation monitoring was compliant. The investigation report was submitted to DHHS, with the initial detection being determined to be a false positive, as per the Safe Drinking Water Regulations (2015). Refresher training of sampling staff undertaken. | No

## Page 33
Water quality complaints per 100 customers supplied
Type of Complaint | 2017-18 |  | 2016-17 | 2015-16 | 2014-15 | 2013-14
| No. of Complaints | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers | Complaints per 100 customers
Discoloured water | 73 | 0.112 | 0.124 | 0.185 | 0.239 | 0.215
Taste / Odour | 55 | 0.084 | 0.083 | 0.112 | 0.115 | 0.106
Blue water | 0 | 0 | 0.002 | 0.003 | 0.006 | 0
Air in water | 20 | 0.031 | 0.026 | 0.026 | 0.064 | 0.058
Alleged illness | 13 | 0.02 | 0.014 | 0.012 | 0.014 | 0.021
Total | 161 | 0.247 | 0.248 | 0.339 | 0.439 | 0.4

## Page 36
Customer complaints summary for each sampling locality 2017-18
Water Quality Locality | Population | Total Complaints Received 2017-18 | No. Complaints per 100 customers 2017-18
(Customers = Number of Connections)
Boisdale | 35 | 0 | 0
Boolarra | 309 | 3 | 0.971
Briagolong | 338 | 1 | 0.296
Churchill | 2219 | 3 | 0.135
Coongulla/Glenmaggie | 409 | 1 | 0.244
Cowwarr | 116 | 0 | 0
Drouin | 5632 | 11 | 0.195
Erica | 141 | 0 | 0
Heyfield | 954 | 4 | 0.419
Jumbuk | 152 | 0 | 0
Maffra | 2436 | 7 | 0.288
Mirboo North | 790 | 6 | 0.759
Moe | 5437 | 14 | 0.257
Morwell | 8011 | 17 | 0.212
Neerim South | 578 | 1 | 0.173
Newborough | 2642 | 12 | 0.454
Noojee | 134 | 0 | 0
Rawson | 195 | 2 | 1.026
Rokeby / Buln Buln | 194 | 0 | 0
Rosedale | 806 | 2 | 0.248
Sale / Wurruk | 7323 | 9 | 0.123
Seaspray | 345 | 2 | 0.58
Stratford | 933 | 4 | 0.429
Thorpdale | 92 | 0 | 0
Toongabbie | 368 | 2 | 0.543
Trafalgar | 1836 | 7 | 0.381
Traralgon | 13301 | 18 | 0.135
Traralgon South / Hazelwood Nth | 696 | 0 | 0
Tyers / Glengarry | 797 | 4 | 0.502
Warragul | 7824 | 23 | 0.294
Warragul South | 195 | 0 | 0
Willow Grove | 161 | 1 | 0.621
Yallourn North | 702 | 2 | 0.285
Yarragon | 1173 | 4 | 0.341
Yinnar | 505 | 1 | 0.198

## Page 40
Risk Management Plan Opportunity for Improvements
Opportunity for Improvement (OFI) | GW Action Identified
OFI 1: Gippsland Water develop and implement a timely program to expedite the implementation of the backflow prevention program | GW Action: A Gippsland Water 2016/17 corporate project had already been identified for backflow prevention. Review of backflow prevention requirements including re-assessment of residential and non-residential customers register and an action plan to risk assess and rank against AS/NZ Std, review business policy and procedures with respect to processing of applications (fire service, trade waste customer), notification of customers identified, registration at GW in billing system, annual testing requirements letter , data/document management , annual audit plan has been developed and is currently being actioned
OFI 2: Gippsland Water expedite the implementation of the clean-up and vermin-proofing of the Warragul store area, rectify the potential contamination from the nearby WWTP, bag parts and create a more fit-for-purpose storage facility | GW Action: Gippsland Water have already undertaken a review of the site and actions had been identified prior to the audit. An action plan is in place to rectify as part of the 2017-18 capital improvement program.

## Page 41
E. coli detections for localities 2017-18
Locality | No. of investigations conducted (s.22) | No. of confirmed false positives | No. of investigations where standard not met (s.18)
Boolarra | 1 | 1 | 0

## Page 41-42
E. coli results for all localities for 2017-18
Locality | Frequency of Sampling | Number of samples | Maximum Detected (orgs/100mL) | No. of detections and investigations conducted (s.22) | No. of samples where standard was not met (s.18)
Boisdale | Weekly | 104 | 0 | 0 | 0
Boolarra | Weekly | 118 | 1 | 1 | 0
Briagolong | Weekly | 105 | 0 | 0 | 0
Churchill | Weekly | 169 | 0 | 0 | 0
Coongulla-Glenmaggie | Weekly | 104 | 0 | 0 | 0
Cowwarr | Weekly | 52 | 0 | 0 | 0
Drouin | Weekly | 155 | 0 | 0 | 0
Erica | Weekly | 53 | 0 | 0 | 0
Heyfield | Weekly | 104 | 0 | 0 | 0
Jumbuk | Weekly | 104 | 0 | 0 | 0
Maffra | Weekly | 117 | 0 | 0 | 0
Mirboo North | Weekly | 108 | 0 | 0 | 0
Moe | Weekly | 223 | 0 | 0 | 0
Morwell | Weekly | 210 | 0 | 0 | 0
Neerim South | Weekly | 106 | 1 | 1 | 0
Newborough | Weekly | 104 | 0 | 0 | 0
Noojee | Weekly | 156 | 0 | 0 | 0
Rawson | Weekly | 104 | 0 | 0 | 0
Rokeby-Buln Buln | Weekly | 52 | 0 | 0 | 0
Rosedale | Weekly | 104 | 0 | 0 | 0
Sale-Wurruk | Weekly | 195 | 0 | 0 | 0
Seaspray | Weekly | 113 | 0 | 0 | 0
Stratford | Weekly | 52 | 0 | 0 | 0
Thorpdale | Weekly | 104 | 0 | 0 | 0
Toongabbie | Weekly | 105 | 0 | 0 | 0
Trafalgar | Weekly | 117 | 0 | 0 | 0
Traralgon | Weekly | 156 | 0 | 0 | 0
Traralgon South-Hazelwood North | Weekly | 52 | 0 | 0 | 0
Tyers-Glengarry | Weekly | 104 | 0 | 0 | 0
Warragul | Weekly | 130 | 0 | 0 | 0
Warragul South | Weekly | 104 | 0 | 0 | 0
Willow Grove | Weekly | 104 | 0 | 0 | 0
Yallourn North | Weekly | 105 | 0 | 0 | 0
Yarragon | Weekly | 117 | 0 | 0 | 0
Yinnar | Weekly | 52 | 0 | 0 | 0

## Page 42-43
Comparison of E. coli results for previous years (2015 - 2018)
Locality | 2017 - 2018 |  | 2016- 2017 |  | 2015 - 2016
| Maximum Detected (orgs/100mL) | No. of samples where standard was not met (s.18) | Maximum Detected (orgs/100mL) | No. of samples where standard was not met (s.18) | Maximum Detected (orgs/100mL) | No. of samples where standard was not met (s.18)
Boisdale | 0 | 0 | 0 | 0 | 0 | 0
Boolarra | 1 | 0 | 0 | 0 | 0 | 0
Briagolong | 0 | 0 | 0 | 0 | 0 | 0
Churchill | 0 | 0 | 0 | 0 | 0 | 0
Coongulla/Glenmaggie | 0 | 0 | 0 | 0 | 0 | 0
Cowwarr | 0 | 0 | 0 | 0 | 0 | 0
Drouin | 0 | 0 | 0 | 0 | 0 | 0
Erica | 0 | 0 | 0 | 0 | 0 | 0
Heyfield | 0 | 0 | 0 | 0 | 0 | 0
Jumbuk | 0 | 0 | 0 | 0 | 0 | 0
Maffra | 0 | 0 | 0 | 0 | 0 | 0
Mirboo North | 0 | 0 | 0 | 0 | 0 | 0
Moe | 0 | 0 | 0 | 0 | 0 | 0
Morwell | 0 | 0 | 0 | 0 | 2 | 0
Neerim South | 0 | 0 | 1 | 0 | 0 | 0
Newborough | 0 | 0 | 0 | 0 | 0 | 0
Noojee | 0 | 0 | 0 | 0 | 0 | 0
Rawson | 0 | 0 | 0 | 0 | 0 | 0
Rokeby/Buln Buln | 0 | 0 | 0 | 0 | 0 | 0
Rosedale | 0 | 0 | 0 | 0 | 0 | 0
Sale/Wurruk | 0 | 0 | 0 | 0 | 8 | 2
Seaspray | 0 | 0 | 0 | 0 | 0 | 0
Stratford | 0 | 0 | 0 | 0 | 0 | 0
Thorpdale | 0 | 0 | 0 | 0 | 0 | 0
Toongabbie | 0 | 0 | 0 | 0 | 0 | 0
Trafalgar | 0 | 0 | 0 | 0 | 0 | 0
Traralgon | 0 | 0 | 0 | 0 | 0 | 0
Traralgon South/ | 0 | 0 | 0 | 0 | 0 | 0
Hazelwood North
Tyers/Glengarry | 0 | 0 | 0 | 0 | 0 | 0
Warragul | 0 | 0 | 0 | 0 | 0 | 0
Warragul South | 0 | 0 | 0 | 0 | 0 | 0
Willow Grove | 0 | 0 | 0 | 0 | 0 | 0
Yallourn North | 0 | 0 | 0 | 0 | 0 | 0
Yarragon | 0 | 0 | 0 | 0 | 0 | 0
Yinnar | 0 | 0 | 0 | 0 | 0 | 0

## Page 45
Trihalomethanes results for all localities for 2017-18
Locality | Frequency of sampling | No. of samples | No. of non-complying samples | Max | Min | Complying (Yes/No)
|  |  |  | (mg/L) | (mg/L)
Boisdale | Monthly | 12 | 0 | 0.057 | 0.033 | Yes
Boolarra | Monthly | 12 | 0 | 0.076 | 0.045 | Yes
Briagolong | Monthly | 12 | 0 | 0.01 | 0.001 | Yes
Churchill | Monthly | 12 | 0 | 0.08 | 0.026 | Yes
Coongulla-Glenmaggie | Monthly | 12 | 0 | 0.018 | 0.005 | Yes
Cowwarr | Monthly | 12 | 0 | 0.075 | 0.045 | Yes
Drouin | Monthly | 12 | 0 | 0.08 | 0.032 | Yes
Erica | Monthly | 12 | 0 | 0.036 | 0.011 | Yes
Heyfield | Monthly | 12 | 0 | 0.037 | 0.014 | Yes
Jumbuk | Monthly | 12 | 0 | 0.097 | 0.039 | Yes
Maffra | Monthly | 12 | 0 | 0.047 | 0.016 | Yes
Mirboo North | Monthly | 12 | 0 | 0.056 | 0.016 | Yes
Moe | Monthly | 12 | 0 | 0.06 | 0.016 | Yes
Morwell | Monthly | 12 | 0 | 0.04 | 0.02 | Yes
Neerim South | Monthly | 12 | 0 | 0.06 | 0.025 | Yes
Newborough | Monthly | 12 | 0 | 0.069 | 0.024 | Yes
Noojee | Monthly | 12 | 0 | 0.033 | 0.023 | Yes
Rawson | Monthly | 12 | 0 | 0.04 | 0.013 | Yes
Rokeby-Buln Buln | Monthly | 12 | 0 | 0.087 | 0.033 | Yes
Rosedale | Monthly | 12 | 0 | 0.12 | 0.043 | Yes
Sale-Wurruk | Monthly | 12 | 0 | 0.032 | 0.018 | Yes
Seaspray | Weekly | 18 | 0 | 0.17 | 0.1 | Yes
Stratford | Monthly | 12 | 0 | 0.05 | 0.026 | Yes
Thorpdale | Monthly | 12 | 0 | 0.1 | 0.045 | Yes
Toongabbie | Monthly | 12 | 0 | 0.065 | 0.037 | Yes
Trafalgar | Monthly | 12 | 0 | 0.064 | 0.025 | Yes
Traralgon | Monthly | 12 | 0 | 0.075 | 0.01 | Yes
Traralgon South-Hazelwood North | Monthly | 12 | 0 | 0.049 | 0.029 | Yes
Tyers-Glengarry | Monthly | 12 | 0 | 0.059 | 0.033 | Yes
Warragul | Monthly | 12 | 0 | 0.081 | 0.042 | Yes
Warragul South | Monthly | 12 | 0 | 0.095 | 0.047 | Yes
Willow Grove | Monthly | 12 | 0 | 0.001 | <0.001 | Yes
Yallourn North | Monthly | 12 | 0 | 0.079 | 0.033 | Yes
Yarragon | Monthly | 12 | 0 | 0.075 | 0.028 | Yes
Yinnar | Monthly | 12 | 0 | 0.064 | 0.03 | Yes

## Page 46
Comparison of Trihalomethane (THM) results for previous years (2015 - 2018)
Locality | 2017 - 2018 |  | 2016- 2017 |  | 2015 - 2016
| Maximum THM in a sample (NTU) | Complying (Yes/No) | Maximum THM in a sample (NTU) | Complying (Yes/No) | Maximum THM in a sample (NTU) | Complying (Yes/No)
Boisdale | 0.057 | Yes | 0.062 | Yes | 0.049 | Yes
Boolarra | 0.076 | Yes | 0.086 | Yes | 0.087 | Yes
Briagolong | 0.01 | Yes | 0.01 | Yes | 0.01 | Yes
Churchill | 0.08 | Yes | 0.069 | Yes | 0.067 | Yes
Coongulla/Glenmaggie | 0.018 | Yes | 0.009 | Yes | 0.036 | Yes
Cowwarr | 0.075 | Yes | 0.08 | Yes | 0.084 | Yes
Drouin | 0.08 | Yes | 0.077 | Yes | 0.068 | Yes
Erica | 0.036 | Yes | 0.042 | Yes | 0.05 | Yes
Heyfield | 0.037 | Yes | 0.031 | Yes | 0.043 | Yes
Jumbuk | 0.097 | Yes | 0.101 | Yes | 0.087 | Yes
Maffra | 0.047 | Yes | 0.049 | Yes | 0.059 | Yes
Mirboo North | 0.056 | Yes | 0.039 | Yes | 0.035 | Yes
Moe | 0.06 | Yes | 0.044 | Yes | 0.047 | Yes
Morwell | 0.04 | Yes | 0.042 | Yes | 0.052 | Yes
Neerim South | 0.06 | Yes | 0.049 | Yes | 0.048 | Yes
Newborough | 0.069 | Yes | 0.052 | Yes | 0.051 | Yes
Noojee | 0.033 | Yes | 0.031 | Yes | 0.036 | Yes
Rawson | 0.04 | Yes | 0.035 | Yes | 0.045 | Yes
Rokeby/Buln Buln | 0.087 | Yes | 0.086 | Yes | 0.058 | Yes
Rosedale | 0.12 | Yes | 0.112 | Yes | 0.12 | Yes
Sale/Wurruk | 0.032 | Yes | 0.027 | Yes | 0.038 | Yes
Seaspray | 0.17 | Yes | 0.169 | Yes | 0.17 | Yes
Stratford | 0.05 | Yes | 0.051 | Yes | 0.045 | Yes
Thorpdale | 0.1 | Yes | 0.079 | Yes | 0.069 | Yes
Toongabbie | 0.065 | Yes | 0.064 | Yes | 0.062 | Yes
Trafalgar | 0.064 | Yes | 0.044 | Yes | 0.041 | Yes
Traralgon | 0.075 | Yes | 0.05 | Yes | 0.033 | Yes
Traralgon South/ | 0.049 | Yes | 0.062 | Yes | 0.057 | Yes
Hazelwood North
Tyers/Glengarry | 0.059 | Yes | 0.064 | Yes | 0.054 | Yes
Warragul | 0.081 | Yes | 0.088 | Yes | 0.077 | Yes
Warragul South | 0.095 | Yes | 0.099 | Yes | 0.084 | Yes
Willow Grove | 0.001 | Yes | 0.003 | Yes | 0.003 | Yes
Yallourn North | 0.079 | Yes | 0.066 | Yes | 0.054 | Yes
Yarragon | 0.075 | Yes | 0.052 | Yes | 0.052 | Yes
Yinnar | 0.064 | Yes | 0.074 | Yes | 0.063 | Yes

## Page 47
Turbidity results for all localities in 2017-18
Locality | Frequency of Sampling | Number of Samples | Maximum turbidity in a sample (NTU) | Maximum 95th Percentile of turbidity results in any 12 months (NTU) | No. of 95th Percentile of results in any 12 months above standard (s.18) | Complying (Yes/No)
Boisdale | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Boolarra | Weekly | 52 | 0.4 | 0.3 | 0 | Yes
Briagolong | Weekly | 53 | 0.1 | 0.1 | 0 | Yes
Churchill | Weekly | 52 | 1.1 | 0.1 | 0 | Yes
Coongulla/Glenmaggie | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Cowwarr | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Drouin | Weekly | 52 | 0.6 | 0.2 | 0 | Yes
Erica | Weekly | 53 | 3.1 | 1.4 | 0 | Yes
Heyfield | Weekly | 52 | 0.3 | 0.3 | 0 | Yes
Jumbuk | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Maffra | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Mirboo North | Weekly | 52 | 0.4 | 0.2 | 0 | Yes
Moe | Weekly | 104 | 0.4 | 0.1 | 0 | Yes
Morwell | Weekly | 53 | 0.3 | 0.2 | 0 | Yes
Neerim South | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Newborough | Weekly | 52 | 1.4 | 0.8 | 0 | Yes
Noojee | Weekly | 52 | 0.3 | 0.3 | 0 | Yes
Rawson | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Rokeby/Buln Buln | Weekly | 52 | 0.3 | 0.1 | 0 | Yes
Rosedale | Weekly | 52 | 4.7 | 1 | 0 | Yes
Sale/Wurruk | Weekly | 52 | 0.2 | 0.2 | 0 | Yes
Seaspray | Weekly | 53 | 0.9 | 0.7 | 0 | Yes
Stratford | Weekly | 52 | 1.4 | 0.6 | 0 | Yes
Thorpdale | Weekly | 52 | 0.6 | 0.5 | 0 | Yes
Toongabbie | Weekly | 53 | 0.3 | 0.1 | 0 | Yes
Trafalgar | Weekly | 53 | 0.1 | 0.1 | 0 | Yes
Traralgon | Weekly | 52 | 0.6 | 0.1 | 0 | Yes
Traralgon South/ | Weekly | 52 | 0.8 | 0.1 | 0 | Yes
Hazelwood North
Tyers/Glengarry | Weekly | 52 | 0.5 | 0.2 | 0 | Yes
Warragul | Weekly | 55 | 0.2 | 0.2 | 0 | Yes
Warragul South | Weekly | 52 | 0.1 | 0.1 | 0 | Yes
Willow Grove | Weekly | 52 | 0.3 | 0.2 | 0 | Yes
Yallourn North | Weekly | 52 | 0.2 | 0.1 | 0 | Yes
Yarragon | Weekly | 52 | 0.1 | 0.1 | 0 | Yes
Yinnar | Weekly | 52 | 0.4 | 0.3 | 0 | Yes

## Page 48
Comparison of Turbidity results for previous years (2015 - 2018)
Locality | 2017 - 2018 |  | 2016- 2017 |  | 2015 - 2016
| Maximum turbidity in a sample (NTU) | Maximum 95th Percentile of turbidity results in any 12 months (NTU) | Maximum turbidity in a sample (NTU) | Maximum 95th Percentile of turbidity results in any 12 months (NTU) | Maximum turbidity in a sample (NTU) | Maximum 95th Percentile of turbidity results in any 12 months (NTU)
Boisdale | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.2
Boolarra | 0.4 | 0.3 | 0.4 | 0.3 | 0.5 | 0.4
Briagolong | 0.1 | 0.1 | 0.3 | 0.1 | 0.2 | 0.2
Churchill | 1.1 | 0.1 | 0.2 | 0.1 | 0.3 | 0.2
Coongulla/Glenmaggie | 0.4 | 0.2 | 0.5 | 0.5 | 1.7 | 0.4
Cowwarr | 0.2 | 0.1 | 0.5 | 0.2 | 1.1 | 0.3
Drouin | 0.6 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2
Erica | 3.1 | 1.4 | 1.8 | 0.6 | 3.4 | 1.1
Heyfield | 0.3 | 0.3 | 0.4 | 0.3 | 6.5 | 0.4
Jumbuk | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2
Maffra | 0.3 | 0.2 | 0.1 | 0.1 | 1.9 | 0.1
Mirboo North | 0.4 | 0.2 | 0.6 | 0.1 | 0.3 | 0.2
Moe | 0.4 | 0.1 | 0.4 | 0.1 | 0.2 | 0.2
Morwell | 0.3 | 0.2 | 0.4 | 0.2 | 0.5 | 0.2
Neerim South | 0.2 | 0.2 | 0.2 | 0.2 | 1 | 0.4
Newborough | 1.4 | 0.8 | 0.2 | 0.1 | 0.2 | 0.1
Noojee | 0.3 | 0.3 | 0.4 | 0.3 | 1.1 | 0.4
Rawson | 0.2 | 0.2 | 0.4 | 0.2 | 1.6 | 0.4
Rokeby/Buln Buln | 0.3 | 0.1 | 0.4 | 0.2 | 0.2 | 0.2
Rosedale | 4.7 | 1 | 0.4 | 0.4 | 5.2 | 1.3
Sale/Wurruk | 0.2 | 0.2 | 0.4 | 0.1 | 0.6 | 0.2
Seaspray | 0.9 | 0.7 | 0.8 | 0.7 | 1.6 | 1
Stratford | 1.4 | 0.6 | 0.3 | 0.2 | 0.3 | 0.2
Thorpdale | 0.6 | 0.5 | 0.4 | 0.2 | 0.8 | 0.7
Toongabbie | 0.3 | 0.1 | 0.3 | 0.3 | 0.3 | 0.3
Trafalgar | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1
Traralgon | 0.6 | 0.1 | 0.5 | 0.2 | 1.2 | 0.5
Traralgon South/ | 0.8 | 0.1 | 0.2 | 0.1 | 0.3 | 0.2
Hazelwood North
Tyers/Glengarry | 0.5 | 0.2 | 0.2 | 0.1 | 1 | 0.4
Warragul | 0.2 | 0.2 | 0.4 | 0.2 | 0.3 | 0.2
Warragul South | 0.1 | 0.1 | 0.3 | 0.2 | 0.2 | 0.2
Willow Grove | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2
Yallourn North | 0.2 | 0.1 | 0.1 | 0.1 | 1.4 | 0.2
Yarragon | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Yinnar | 0.4 | 0.3 | 0.6 | 0.2 | 0.4 | 0.4

## Page 49
Fluoride results for all fluoridated localities in 2017-18
Treatment Plant | Locality | Frequency of Sampling | Number of Samples | Operating Target | Max | Min | Overall Average1 | Operating Average2 | Comply3 | Meeting Obligations4
[5 empty] | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (Yes /No) | (Yes/No)
Maffra | Boisdale | Weekly | 52 | 0.9 | 0.92 | 0.66 | 0.8 | 0.8 | Yes | Yes
| Maffra | Weekly | 104 | 0.9 | 0.95 | 0.06 | 0.8 | 0.8 | Yes | Yes
| Stratford | Weekly | 52 | 0.9 | 0.92 | 0.41 | 0.78 | 0.78 | Yes | Yes
Morwell | Churchill | Monthly | 52 | 0.9 | 0.94 | 0.8 | 0.87 | 0.87 | Yes | Yes
| Boolarra | Monthly | 52 | 0.9 | 0.9 | 0.81 | 0.86 | 0.86 | Yes | Yes
| Jumbuk | Monthly | 52 | 0.9 | 0.9 | 0.8 | 0.87 | 0.87 | Yes | Yes
| Morwell | Weekly | 104 | 0.9 | 1.1 | 0.62 | 0.87 | 0.87 | Yes | Yes
| Traralgon South/ | Monthly | 52 | 0.9 | 0.93 | 0.78 | 0.87 | 0.87 | Yes | Yes
Hazelwood North
| Yinnar | Monthly | 52 | 0.9 | 0.91 | 0.78 | 0.87 | 0.87 | Yes | Yes
Moe | Moe | Weekly | 104 | 0.9 | 0.94 | 0.57 | 0.82 | 0.82 | Yes | Yes
| Newborough | Monthly | 52 | 0.9 | 0.9 | 0.63 | 0.82 | 0.82 | Yes | Yes
| Trafalgar | Monthly | 52 | 0.9 | 0.92 | 0.61 | 0.82 | 0.82 | Yes | Yes
| Yallourn North | Monthly | 52 | 0.9 | 0.9 | 0.68 | 0.82 | 0.82 | Yes | Yes
| Thorpdale5 | Monthly | 52 | 0.9 | 0.89 | 0.61 | 0.81 | 0.81 | Yes | Yes
| Yarragon | Monthly | 52 | 0.9 | 0.93 | 0.63 | 0.83 | 0.83 | Yes | Yes
Sale | Sale/Wurruk | Weekly | 104 | 0.9 | 0.93 | 0.76 | 0.85 | 0.85 | Yes | Yes
Traralgon* | Traralgon | Weekly | 104 | 0.9 | 0.87 | 0.7 | 0.79 | 0.79 | Yes | Yes
Warragul | Drouin | Weekly | 52 | 0.9 | 1.1 | 0.73 | 0.92 | 0.92 | Yes | Yes
| Rokeby/Buln Buln | Weekly | 52 | 0.9 | 1.1 | 0.79 | 0.92 | 0.92 | Yes | Yes
| Warragul | Weekly | 104 | 0.9 | 1.1 | 0.57 | 0.93 | 0.93 | Yes | Yes
| Warragul South | Weekly | 52 | 0.9 | 1 | 0.84 | 0.92 | 0.92 | Yes | Yes

## Page 50
Comparison of Fluoride results for previous years (2015 - 2018)
Treatment Plant | Locality | 2017 - 2018 |  |  | 2016 - 2017 |  |  | 2015 - 2016
|  | Max | Min | Overall Average1 | Max | Min | Overall Average1 | Max | Min | Overall Average1
|  | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L)
Maffra | Boisdale | 0.92 | 0.66 | 0.8 | 0.91 | <0.05 | 0.56 | <0.05 | <0.05 | <0.05
| Maffra | 0.95 | 0.06 | 0.8 | 0.96 | <0.05 | 0.6 | <0.05 | <0.05 | 0.05
| Stratford | 0.92 | 0.41 | 0.78 | 0.91 | <0.05 | 0.57 | <0.05 | <0.05 | <0.05
Morwell | Churchill | 0.94 | 0.8 | 0.87 | 0.98 | 0.66 | 0.85 | 0.97 | <0.05 | 0.68
| Boolarra | 0.9 | 0.81 | 0.86 | 0.92 | 0.75 | 0.86 | 0.94 | <0.05 | 0.64
| Jumbuk | 0.9 | 0.8 | 0.87 | 0.93 | 0.74 | 0.86 | 0.99 | <0.05 | 0.67
| Morwell | 1.1 | 0.62 | 0.87 | 0.98 | 0.44 | 0.86 | 0.96 | <0.05 | 0.72
| Traralgon South/ | 0.93 | 0.78 | 0.87 | 0.92 | 0.68 | 0.86 | 0.97 | <0.05 | 0.71
Hazelwood North
| Yinnar | 0.91 | 0.78 | 0.87 | 0.91 | 0.73 | 0.86 | 0.95 | <0.05 | 0.68
Moe | Moe | 0.94 | 0.57 | 0.82 | 0.91 | 0.49 | 0.82 | 0.89 | <0.05 | 0.6
| Newborough | 0.9 | 0.63 | 0.82 | 0.89 | 0.72 | 0.83 | 0.89 | <0.05 | 0.62
| Trafalgar | 0.92 | 0.61 | 0.82 | 0.92 | 0.7 | 0.83 | 0.9 | <0.05 | 0.6
| Yallourn North | 0.9 | 0.68 | 0.82 | 0.88 | 0.74 | 0.83 | 0.85 | <0.05 | 0.62
| Thorpdale5 | 0.89 | 0.61 | 0.81 | 0.9 | 0.72 | 0.82 | 0.87 | <0.05 | 0.75
| Yarragon | 0.93 | 0.63 | 0.83 | 0.89 | 0.7 | 0.83 | 0.89 | <0.05 | 0.6
Sale | Sale/Wurruk | 0.93 | 0.76 | 0.85 | 0.97 | 0.77 | 0.88 | 1.1 | <0.05 | 0.67
Traralgon* | Traralgon | 0.87 | 0.7 | 0.79 | 0.91 | <0.05 | 0.8 | <0.05 | <0.05 | <0.05
Warragul | Drouin | 1.1 | 0.73 | 0.92 | 1.07 | 0.65 | 0.85 | 0.92 | <0.05 | 0.51
| Rokeby/Buln Buln | 1.1 | 0.79 | 0.92 | 1.13 | 0.64 | 0.86 | 0.88 | <0.05 | 0.51
| Warragul | 1.1 | 0.57 | 0.93 | 1.12 | 0.57 | 0.84 | 0.89 | <0.05 | 0.5
| Warragul South | 1 | 0.84 | 0.92 | 0.98 | 0.7 | 0.83 | 0.76 | <0.05 | 0.46

## Page 58
Other sampled parameter results for all localities in 2017-18
Parameter | Frequency of sampling | 2017-18 | 2017-18 | 2016-17 |  | Health Based Guideline value (mg/L) | Result
|  | No. of | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L) | 2015-16
|  | Samples |  |  | Maximum Value Recorded for All Localities (mg/L)
Nitrite | Weekly*/6 Monthly | 439 | 0.5 | 0.7 | 0.4 | < 3 | All results below ADWG health guideline values
Mercury | Quarterly | 1040 | 0.0004 | <0.0001 | <0.0001 | < 0.001
Chromium | Quarterly | 199 | 0.002 | <0.001 | <0.001 | < 0.05
Cadmium | Quarterly | 199 | 0.0003 | <0.0002 | <0.0002 | < 0.002
Nitrate | Weekly*/Quarterly | 296 | 1.2 | 1.5 | 1.4 | < 50
Nickel | Annually | 94 | 0.01 | 0.006 | 0.004 | < 0.02
Arsenic | Annually/Quarterly | 169 | <0.001 | <0.001 | <0.001 | < 0.01
Cyanide | Annually | 35 | <0.005 | <0.002 | <0.005 | < 0.08
Selenium | Annually/Quarterly | 169 | <0.001 | <0.001 | <0.001 | < 0.01
Beryllium | Annually/6 Monthly | 88 | <0.01 | <0.001 | <0.01 | < 0.06
Chloryl Hydrate | Monthly | 420 | 0.016 | 0.03 | 0.02 | < 0.1
2, 4-Dichlorophenoxy acetic acid | Monthly | 420 | <0.01 | <0.01 | <0.01 | < 0.03
Nitrosodimethylamine | Monthly** | 24 | 1.7e-05 | 1.2e-05 | 8e-06 | < 0.0001
2,4,6-Trichlorophenol | Monthly*** | 416 | <0.001 | <0.001 | <0.001 | < 0.02
2,4-Dichlorophenol | Monthly*** | 416 | <0.001 | <0.001 | <0.001 | < 0.2
2- Chlorophenol | Monthly*** | 416 | <0.001 | <0.001 | <0.001 | < 0.3
Pentachlorophenol | Monthly | 416 | <0.001 | <0.001 | <0.001 | < 0.01
Parameter | Frequency of sampling | 2017-18 | 2017-18 | 2015-16 | 2014-15 | Aesthetic Based Guideline value (mg/L) | Result
|  | No. of | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L) | Maximum Value Recorded for All Localities (mg/L)
Samples
Chloride | Annually/Quarterly | 193 | 150 | 160 | 140 | <250 | All results below ADWG health guideline values
Zinc | Annually | 94 | 0.17 | 0.01 | 0.025 | <3
Hardness (CaCO3) | Annually/Quarterly | 127 | 120 | 120 | 130 | <200
Total dissolved solids | Annually/Quarterly | 131 | 330 | 340 | 360 | <600
Silica | Annually/Quarterly | 127 | 15 | 16 | 15 | <80
Sulphate | Annually/Quarterly | 140 | 45 | 23 | 45 | <250

## Page 59
Routine BGA monitoring for raw water supplies in 2017-18 (samples per month collected)
Location | Jul | Aug | Sept | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
| ‘17 | ‘17 | ‘17 | ‘17 | ‘17 | ‘17 | ‘18 | ‘18 | ‘18 | ‘18 | ‘18 | ‘18
Maffra Weir | 2 | 2 | 2 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 2 | 2
Heyfield Raw Water Storage | 2 | 2 | 2 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 2 | 2
Thorpdale Raw Water Storage | Jul: No longer in use (drained)
Neerim South Tarago Reservoir | bar: Jul to Jun
Rawson Amours Basin | bar: Jul to Jun
Seaspray Raw Water Storage | 2 | 2 | 2 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 2 | 2
Blue Rock Lake | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Willow Grove WTP Inlet - Blue Rock | bar: Jul to Jun
Lake Glenmaggie | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1
(Southern Rural Water BGA Program)
Coongulla WTP Inlet – Lake Glenmaggie | 2 | 2 | 2 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 2 | 2
Tarago Reservoir | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 1
(Melbourne Water BGA Program)
Warragul WTP Inlet – Tarago Reservoir | bar: Jul to Jun
Moondarra Surface | bar: Jul to Jun
Moondarra pipeline | bar: Jul to Jun
Moondarra Upper reaches | Jul: As required

## Page 60
Manganese results for all localities in 2017-18
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 12 | 0.002 | <0.001 | Yes
Boolarra | Weekly | 64 | <0.001 | <0.001 | Yes
Briagolong | Weekly | 61 | <0.001 | <0.001 | Yes
Churchill | Monthly | 12 | <0.001 | <0.001 | Yes
Coongulla/Glenmaggie | Weekly | 115 | 0.018 | <0.001 | Yes
Cowwarr | Monthly | 12 | <0.001 | <0.001 | Yes
Drouin | Monthly | 12 | 0.011 | <0.001 | Yes
Erica | Monthly | 12 | 0.018 | 0.004 | Yes
Heyfield | Weekly | 116 | 0.063 | 0.001 | Yes
Jumbuk | Monthly | 12 | <0.001 | <0.001 | Yes
Maffra | Weekly | 115 | 0.053 | <0.001 | Yes
Mirboo North | Weekly | 115 | 0.025 | <0.001 | Yes
Moe | Weekly | 167 | 0.025 | <0.001 | Yes
Morwell | Weekly | 117 | 0.009 | <0.001 | Yes
Neerim South | Weekly | 114 | 0.031 | 0.007 | Yes
Newborough | Monthly | 12 | 0.003 | <0.001 | Yes
Noojee | Monthly | 12 | 0.034 | 0.005 | Yes
Rawson | Weekly | 116 | 0.025 | 0.004 | Yes
Rokeby/Buln Buln | Monthly | 12 | 0.005 | <0.001 | Yes
Rosedale | Monthly | 12 | 0.001 | <0.001 | Yes
Sale/Wurruk | Weekly | 64 | 0.005 | <0.001 | Yes
Seaspray | Weekly | 116 | 0.018 | 0.004 | Yes
Stratford | Monthly | 12 | 0.002 | <0.001 | Yes
Thorpdale | Weekly | 64 | 0.004 | <0.001 | Yes
Toongabbie | Monthly | 12 | <0.001 | <0.001 | Yes
Trafalgar | Weekly | 63 | 0.004 | <0.001 | Yes
Traralgon | Weekly | 116 | 0.005 | <0.001 | Yes
Traralgon South/Hazelwood North | Monthly | 12 | <0.001 | <0.001 | Yes
Tyers/Glengarry | Weekly | 137 | 0.038 | <0.001 | Yes
Warragul | Weekly | 116 | 0.02 | <0.001 | Yes
Warragul South | Monthly | 12 | 0.004 | <0.001 | Yes
Willow Grove | Weekly | 168 | 0.029 | <0.001 | Yes
Yallourn North | Monthly | 12 | 0.003 | <0.001 | Yes
Yarragon | Weekly | 64 | 0.002 | <0.001 | Yes
Yinnar | Monthly | 12 | 0.001 | <0.001 | Yes

## Page 61
Lead results for all localities in 2017-18
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Boolarra | Quarterly | 4 | <0.001 | <0.001 | Yes
Briagolong | Quarterly | 4 | <0.001 | <0.001 | Yes
Churchill | Quarterly | 4 | <0.001 | <0.001 | Yes
Coongulla/Glenmaggie | Quarterly | 8 | <0.001 | <0.001 | Yes
Cowwarr | Quarterly | 4 | <0.001 | <0.001 | Yes
Drouin | Quarterly | 4 | <0.001 | <0.001 | Yes
Erica | Quarterly | 4 | 0.002 | <0.001 | Yes
Heyfield | Quarterly | 8 | <0.001 | <0.001 | Yes
Jumbuk | Quarterly | 4 | <0.001 | <0.001 | Yes
Maffra | Quarterly | 4 | <0.001 | <0.001 | Yes
Mirboo North | Quarterly | 8 | <0.001 | <0.001 | Yes
Moe | Quarterly | 16 | <0.001 | <0.001 | Yes
Morwell | Quarterly | 9 | <0.001 | <0.001 | Yes
Neerim South | Quarterly | 8 | <0.001 | <0.001 | Yes
Newborough | Quarterly | 4 | <0.001 | <0.001 | Yes
Noojee | Quarterly | 4 | <0.001 | <0.001 | Yes
Rawson | Quarterly | 8 | <0.001 | <0.001 | Yes
Rokeby/Buln Buln | Quarterly | 4 | <0.001 | <0.001 | Yes
Rosedale | Quarterly | 4 | <0.001 | <0.001 | Yes
Sale/Wurruk | Quarterly | 4 | <0.001 | <0.001 | Yes
Seaspray | Quarterly | 8 | 0.001 | <0.001 | Yes
Stratford | Quarterly | 4 | <0.001 | <0.001 | Yes
Thorpdale | Quarterly | 4 | <0.001 | <0.001 | Yes
Toongabbie | Quarterly | 4 | <0.001 | <0.001 | Yes
Trafalgar | Quarterly | 4 | <0.001 | <0.001 | Yes
Traralgon | Quarterly | 8 | <0.001 | <0.001 | Yes
Traralgon South/Hazelwood North | Quarterly | 4 | <0.001 | <0.001 | Yes
Tyers/Glengarry | Quarterly | 10 | <0.001 | <0.001 | Yes
Warragul | Quarterly | 8 | <0.001 | <0.001 | Yes
Warragul South | Quarterly | 4 | <0.001 | <0.001 | Yes
Willow Grove | Quarterly | 8 | <0.001 | <0.001 | Yes
Yallourn North | Quarterly | 4 | <0.001 | <0.001 | Yes
Yarragon | Quarterly | 4 | <0.001 | <0.001 | Yes
Yinnar | Quarterly | 4 | <0.001 | <0.001 | Yes

## Page 62
Copper results for all localities in 2017-18
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Quarterly | 4 | 0.008 | 0.005 | Yes
Boolarra | Quarterly | 4 | 0.003 | 0.002 | Yes
Briagolong | Quarterly | 4 | 0.12 | 0.004 | Yes
Churchill | Quarterly | 4 | 0.006 | <0.001 | Yes
Coongulla/Glenmaggie | Quarterly | 8 | 0.024 | <0.001 | Yes
Cowwarr | Quarterly | 4 | 0.011 | 0.001 | Yes
Drouin | Quarterly | 4 | 0.014 | <0.001 | Yes
Erica | Quarterly | 4 | 0.044 | 0.002 | Yes
Heyfield | Quarterly | 8 | 0.024 | <0.001 | Yes
Jumbuk | Quarterly | 4 | 0.011 | 0.004 | Yes
Maffra | Quarterly | 4 | 0.023 | 0.004 | Yes
Mirboo North | Quarterly | 8 | 0.01 | <0.001 | Yes
Moe | Quarterly | 16 | 0.11 | <0.001 | Yes
Morwell | Quarterly | 9 | 0.024 | <0.001 | Yes
Neerim South | Quarterly | 8 | 0.035 | <0.001 | Yes
Newborough | Quarterly | 4 | 0.1 | 0.051 | Yes
Noojee | Quarterly | 4 | 0.011 | 0.004 | Yes
Rawson | Quarterly | 8 | 0.073 | <0.001 | Yes
Rokeby/Buln Buln | Quarterly | 4 | 0.005 | 0.002 | Yes
Rosedale | Quarterly | 4 | 0.008 | 0.002 | Yes
Sale/Wurruk | Quarterly | 4 | 0.008 | 0.005 | Yes
Seaspray | Quarterly | 8 | 0.049 | <0.001 | Yes
Stratford | Quarterly | 4 | 0.013 | 0.006 | Yes
Thorpdale | Quarterly | 4 | 0.002 | <0.001 | Yes
Toongabbie | Quarterly | 4 | 0.035 | 0.012 | Yes
Trafalgar | Quarterly | 4 | 0.005 | 0.002 | Yes
Traralgon | Quarterly | 8 | 0.027 | <0.001 | Yes
Traralgon South/Hazelwood North | Quarterly | 4 | 0.003 | <0.001 | Yes
Tyers/Glengarry | Quarterly | 10 | 0.036 | <0.001 | Yes
Warragul | Monthly/Quarterly | 8 | 0.005 | <0.001 | Yes
Warragul South | Quarterly | 4 | 0.004 | <0.001 | Yes
Willow Grove | Quarterly | 8 | 0.005 | <0.001 | Yes
Yallourn North | Quarterly | 4 | 0.03 | 0.011 | Yes
Yarragon | Quarterly | 4 | 0.002 | <0.001 | Yes
Yinnar | Quarterly | 4 | 0.005 | 0.003 | Yes

## Page 63
pH results for all localities in 2017-18
Locality | Frequency of Sampling | No. of Samples | Max | Min | Average
|  |  | (units) | (units) | (units)
Boisdale | Weekly | 52 | 7.8 | 7.4 | 7.6
Boolarra | Weekly | 52 | 7.8 | 7.1 | 7.4
Briagolong | Weekly | 53 | 7.2 | 6.8 | 7
Churchill | Weekly | 52 | 8.7 | 7.1 | 7.4
Coongulla/Glenmaggie | Weekly | 52 | 8.3 | 7.1 | 7.7
Cowwarr | Weekly | 52 | 8.4 | 7.4 | 7.7
Drouin | Weekly | 52 | 7.9 | 7 | 7.3
Erica | Weekly | 53 | 7.8 | 7 | 7.3
Heyfield | Weekly | 52 | 7.4 | 7 | 7.2
Jumbuk | Weekly | 52 | 7.5 | 7.1 | 7.3
Maffra | Weekly | 52 | 7.7 | 6.9 | 7.3
Mirboo North | Weekly | 52 | 7.7 | 7.2 | 7.4
Moe | Weekly | 104 | 8.5 | 6.8 | 7.5
Morwell | Weekly | 53 | 7.9 | 7 | 7.2
Neerim South | Weekly | 52 | 7.7 | 6.9 | 7.3
Newborough | Weekly | 52 | 7.5 | 6.9 | 7.2
Noojee | Weekly | 52 | 8.7 | 7.2 | 7.6
Rawson | Weekly | 52 | 7.5 | 7 | 7.2
Rokeby/Buln Buln | Weekly | 52 | 7.9 | 7.1 | 7.3
Rosedale | Weekly | 52 | 9.1 | 7.2 | 8
Sale/Wurruk | Weekly | 52 | 7.8 | 7 | 7.3
Seaspray | Weekly | 53 | 7.7 | 6.9 | 7.3
Stratford | Weekly | 52 | 7.7 | 7.2 | 7.4
Thorpdale | Weekly | 52 | 8.9 | 7.6 | 8.1
Toongabbie | Weekly | 53 | 7.4 | 7 | 7.2
Trafalgar | Weekly | 53 | 7.5 | 7.1 | 7.3
Traralgon | Weekly | 52 | 7.5 | 7 | 7.2
Traralgon South/Hazelwood North | Weekly | 52 | 8.6 | 7 | 7.4
Tyers/Glengarry | Weekly | 52 | 8 | 7 | 7.2
Warragul | Weekly | 55 | 7.8 | 7 | 7.3
Warragul South | Weekly | 52 | 8.4 | 7.2 | 7.6
Willow Grove | Weekly | 52 | 8.4 | 7.6 | 8
Yallourn North | Weekly | 52 | 7.4 | 7 | 7.2
Yarragon | Weekly | 52 | 8.9 | 7.4 | 7.9
Yinnar | Weekly | 52 | 7.7 | 7.2 | 7.3

## Page 65
Iron results for all localities in 2016-17
Locality | Frequency of Sampling | No. of Samples | Max | Min | Drinking Water Quality Standard Met (ADWG)
|  |  | (mg/L) | (mg/L) | (Yes/No)
Boisdale | Monthly | 12 | 0.01 | <0.01 | Yes
Boolarra | Weekly | 64 | 0.09 | 0.02 | Yes
Briagolong | Weekly | 61 | 0.02 | <0.01 | Yes
Churchill | Monthly | 12 | 0.04 | <0.01 | Yes
Coongulla/Glenmaggie | Weekly | 115 | 0.04 | <0.01 | Yes
Cowwarr | Monthly | 12 | 0.02 | <0.01 | Yes
Drouin | Monthly | 12 | 0.06 | <0.01 | Yes
Erica | Monthly | 12 | 0.18 | 0.02 | Yes
Heyfield | Weekly | 116 | 0.03 | <0.01 | Yes
Jumbuk | Monthly | 12 | 0.06 | <0.01 | Yes
Maffra | Weekly | 115 | 0.01 | <0.01 | Yes
Mirboo North | Weekly | 115 | 0.04 | <0.01 | Yes
Moe | Weekly | 167 | 0.26 | <0.01 | Yes
Morwell | Weekly | 117 | 0.02 | <0.01 | Yes
Neerim South | Weekly | 114 | 0.06 | <0.01 | Yes
Newborough | Monthly | 12 | 0.02 | <0.01 | Yes
Noojee | Monthly | 12 | 0.11 | 0.03 | Yes
Rawson | Weekly | 116 | 0.31 | <0.01 | No
Rokeby/Buln Buln | Monthly | 12 | 0.03 | <0.01 | Yes
Rosedale | Monthly | 12 | 0.17 | <0.01 | Yes
Sale/Wurruk | Weekly | 64 | 0.03 | <0.01 | Yes
Seaspray | Weekly | 116 | 0.21 | <0.01 | Yes
Stratford | Monthly | 12 | 0.02 | <0.01 | Yes
Thorpdale | Monthly | 12 | 0.05 | 0.01 | Yes
Toongabbie | Monthly | 12 | 0.01 | <0.01 | Yes
Trafalgar | Weekly | 63 | 0.01 | <0.01 | Yes
Traralgon | Weekly | 116 | 0.03 | <0.01 | Yes
Traralgon South/Hazelwood North | Monthly | 12 | 0.02 | <0.01 | Yes
Tyers/Glengarry | Weekly | 137 | 0.42 | <0.01 | No
Warragul | Weekly | 116 | 0.05 | <0.01 | Yes
Warragul South | Monthly | 12 | 0.02 | <0.01 | Yes
Willow Grove | Weekly | 168 | 0.03 | <0.01 | Yes
Yallourn North | Monthly | 12 | 0.02 | <0.01 | Yes
Yarragon | Weekly | 64 | 0.01 | <0.01 | Yes
Yinnar | Monthly | 12 | 0.07 | <0.01 | Yes

## Page 67
Compliance by locality and population
| Percentage by Locality |  |  | Percentage by Population
Parameter | 2015-16 | 2016-17 | 2017-18 | 2015-16 | 2016-17 | 2017-18
Aluminum | 100% | 100% | 100% | 100% | 100% | 100%
Chloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Dichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
E. coli | 97.1% | 100% | 100% | 88.5% | 100% | 100%
Trichloroacetic Acid | 100% | 100% | 100% | 100% | 100% | 100%
Trihalomethanes | 100% | 100% | 100% | 100% | 100% | 100%
Turbidity | 100% | 100% | 100% | 100% | 100% | 100%
Nitrite | 100% | 100% | 100% | 100% | 100% | 100%
Nitrate | 100% | 100% | 100% | 100% | 100% | 100%
Fluoride | 100% | 100% | 100% | 100% | 100% | 100%
Mercury | 100% | 100% | 100% | 100% | 100% | 100%
Chromium | 100% | 100% | 100% | 100% | 100% | 100%
Cadmium | 100% | 100% | 100% | 100% | 100% | 100%
Nickel | 100% | 100% | 100% | 100% | 100% | 100%
Arsenic | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Beryllium | 100% | 100% | 100% | 100% | 100% | 100%
Copper | 100% | 100% | 100% | 100% | 100% | 100%
Barium | 100% | 100% | 100% | 100% | 100% | 100%
Lead | 100% | 100% | 100% | 100% | 100% | 100%
Manganese | 100% | 100% | 100% | 100% | 100% | 100%
Cyanide | 100% | 100% | 100% | 100% | 100% | 100%
Selenium | 100% | 100% | 100% | 100% | 100% | 100%
Molybdenum | 100% | 100% | 100% | 100% | 100% | 100%
Acrylamide | 100% | 100% | 100% | 100% | 100% | 100%
Boron | 100% | 100% | 100% | 100% | 100% | 100%
Chloryl Hydrate | 100% | 100% | 100% | 100% | 100% | 100%
2, 4-Dichlorophenoxy acetic acid | 100% | 100% | 100% | 100% | 100% | 100%
Nitrosodimethylamine | 100% | 100% | 100% | 100% | 100% | 100%
2,4,6-Trichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2,4-Dichlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
2- Chlorophenol | 100% | 100% | 100% | 100% | 100% | 100%
Pentachlorophenol | 100% | 100% | 100% | 100% | 100% | 100%

## Page 69-70
Glossary of terms
ADWG | Australian Drinking Water Guidelines 2011 prepared by National Health and Medical Research Council that details a framework for the management of drinking water.
DHHS | Department of Health and Human Services.
CCP | A physical point in treatment processes that can be controlled either by SCADA, or manually, and has a significant impact on water quality.
Detection limit | The lowest concentration of analytical parameter in the sample that can be detected by the process laboratory.
Drinking Water Supply systems | Towns supplied with water from a common water source (WTP, supply mains and reticulation pipe-work).
E. coli | Escherichia coli.
Locality | Under the SDWR, a specified area that is supplied with drinking water by a water supplier.
mg/L | Milligram per litre.
NHMRC | National Health and Medical Research Council.
NTU | Nephelometric Turbidity Units.
Properties | A registered customer connection to the drinking water supply.
RMP | Risk Management Plan.
SCADA system | A Supervisory Control And Data Acquisition (SCADA) system consists of human-machine interface, computerised logics, telemetry communication system, electronically actuated instruments and sensors. SCADA allows remote control and monitor of all key process,
SDWA | Safe Drinking Water Act 2003 Act No.46/2003.
SDWR | Safe Drinking Water Regulations 2015 S.R No.88/2015.
Source Water | Raw water supply for town, prior to treatment.
THM | Trihalomethane.
WSAA | Water Services Association Australia.
WTP | A facility where raw water is directed through various treatment processes and produces treated water fit for human consumption
100mL | 100 millilitres.
< | Less than.
> | Greater than.
< | Less than or equal to.
> | Greater than or equal to.