## Sewer Cover Tolerance
Sewer Cover Level Tolerance Report: |  |  | Example Estate Stage 1 Traralgon |  |  |  |  | WSA 02-2014-3.1 MRWA Edition V2 - Clause 22.3
Maintenance Structure | Location of structure (Lot or Road reserve) | Cover Level |  |  | Allowable range |  | Tolerance | Comment
|  | Design | As constructed | Difference | Min | Max
MH 1 | Road reserve | 98.1 | 98 | -0.1 | 0 | 0.01 | Fail | Cover is level with foot path
MH 2 | Lot | 97.78 | 97.8 | 0.02 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass
|  |  |  | 0 | -0.02 | 0.05 | Pass

## Sewer Main Tolerance
Sewer Main Tolerance Report: |  |  | Example Estate Stage 1 Traralgon |  |  |  |  | WSA 02-2014-3.1 MRWA Edition V2 - Clause 22.1 & 22.2
Maintenance Structures |  | Pipe Length (+/- 200mm from design) |  |  |  | Downstream IL (+10mm/-50mm from design) |  |  |  | Upstream IL (+10mm/-50mm from design) |  |  |  | Pipe Grade (Flat = 10% max, Moderate = 15% max, Steep = 20% max) | [5 empty] | Comments
Downstream | Upstream | Design | As constructed | Difference | Tolerance | Design | As constructed | Difference | Tolerance | Design | As constructed | Difference | Tolerance | Design |  | As constructed |  | Difference | Tolerance
EX MH1 | MH2 | 34.2 | 34.2 | 0 | Pass | 88.433 | 88.41 | -0.023 | Pass | 89.117 | 89.08 | -0.037 | Pass | 1 in | 50 | 1 in | 51.0448 | 2.09% | Pass
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 1 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 1 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 1 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 1 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 2 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 3 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 4 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 5 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 6 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 7 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 8 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 9 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 10 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 11 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 12 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 13 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 14 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 15 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 16 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 17 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 18 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 19 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 20 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 21 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 22 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 23 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 24 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 25 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 26 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 27 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 28 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 29 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 30 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 31 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 10 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 11 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 12 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 13 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 14 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 15 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 16 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 17 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 18 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 19 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 20 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 21 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 22 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 23 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 24 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 25 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 26 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 27 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 28 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 29 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 30 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 31 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 32 in | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 0 | Pass |  |  | 0 | Pass |  |  | 0 | Pass | 1 in | #DIV/0! | 33 in | #DIV/0! | #DIV/0! | #DIV/0!

## Sewer Property Connections
Sewer Property Connection Tolerance Report: |  |  | Example Estate Stage 1 Traralgon |  |  | GW Supplement & WSA 02-2014-3.1 MRWA Edition V2 - Clause 22.1 & 22.2
Lot Number | Connection depth (600-1000mm) |  |  |  | Connection offset (+/- 100mm from design) |  |  |  | Comments
| Cap Level | FSL | Depth | Tolerance | Design | As constructed | Difference | Tolerance
101 | 89.49 | 90.12 | 0.63 | Pass | 12.68 | 12.68 | 0 | Pass
102 | 91.04 | 91.5 | 0.46 | Fail | 5.25 | 5.5 | 0.25 | Fail
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass
|  |  | 0 | Fail |  |  | 0 | Pass

## Lists
Road reserve | 2A
Lot | 4A